CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

<NAME> REGION

<Address>

<Phone Number>  Fax <Fax Number>

http://www.waterboards.ca.gov

- ORDER NO. <XX-XXXX-XXX>

- NPDES NO. <CAXXXXXXX>

WASTE DISCHARGE REQUIREMENTS <AND MASTER RECLAMATION PERMIT>

FOR THE<DISCHARGER>, <FACILITY>

<optional: DISCHARGE TO THE PACIFIC OCEAN <VIA OPTIONAL OUTFALL NAME>>

Reference to a waterbody is not required in the title.  There may be multiple receiving waters that are better described in Table 2 below.  The WDRs may also be regulating non-NPDES discharges.

The following Discharger is subject to waste discharge requirements as set forth in this Order:

Table 1.  Discharger Information

| Discharger | <Site Owner/Operator/Property Owner> |
| --- | --- |
| Name of Facility | <Facility Name, Facility City> |
| Facility Address | <Facility Street Address> |
|  | <Facility City, State Zip> |
|  | <Facility County Name> |
| The U.S. Environmental Protection Agency (USEPA) and the Regional Water Quality Control Board have classified this discharge as a <major or minor> discharge. |  |

The discharge by the <Owner/Operator> from the discharge points identified below is subject to waste discharge requirements as set forth in this Order:

Table 2.  Discharge Location

| Discharge Point | Effluent Description | Discharge Point Latitude | Discharge Point Longitude | Receiving Water |
| --- | --- | --- | --- | --- |
| 001 | <type(s) of effluent> | <xx> º, <xx>’, <xx>” N | <xx> º, <xx>’, <xx>” W | Pacific Ocean |
| <XXX> | <type(s) of effluent> | <xx> º, <xx>’, <xx>” N | <xx> º, <xx>’, <xx>” W | <Receiving water 002> |

Table 3.  Administrative Information

| This Order was adopted by the Regional Water Quality Control Board on: | <Adoption Date> |
| --- | --- |
| This Order shall become effective on: | <Effective Date> |
| This Order shall expire on: | <Expiration Date> |
| The Discharger shall file a Report of Waste Discharge in accordance with title 23, California Code of Regulations, as application for issuance of new waste discharge requirements no later than: | [Choose: 180 days prior to the Order expiration date OR <insert date>] |

Select only one of the following three paragraphs.  Use the following paragraph if the prior permit is still in effect and the Regional Board is revoking (rescinding) the old permit and reissuing a new  permit.

IT IS HEREBY ORDERED, that Order No. <Insert No.> is rescinded upon the effective date of this Order except for enforcement purposes, and, in order to meet the provisions contained in division 7 of the Water Code (commencing with section 13000) and regulations adopted thereunder, and the provisions of the federal Clean Water Act (CWA) and regulations and guidelines adopted thereunder, the Discharger shall comply with the requirements in this Order.

Use the following paragraph if the prior permit has already expired.

IT IS HEREBY ORDERED, that this Order supercedes Order No. <Insert No.> except for enforcement purposes, and, in order to meet the provisions contained in division 7 of the Water Code (commencing with section 13000) and regulations adopted thereunder, and the provisions of the federal Clean Water Act (CWA) and regulations and guidelines adopted thereunder, the Discharger shall comply with the requirements in this Order.

Use the following paragraph for a new Discharger.

IT IS HEREBY ORDERED, that in order to meet the provisions contained in division 7 of the Water Code (commencing with section 13000) and regulations adopted thereunder and the provisions of the federal Clean Water Act (CWA) and regulations and guidelines adopted thereunder, the Discharger shall comply with the requirements in this Order.

I, <Executive Officer>, Executive Officer, do hereby certify that this Order with all attachments is a full, true, and correct copy of an Order adopted by the California Regional Water Quality Control Board, <Regional Water Board Name> Region, on <Adoption Date>.

________________________________________

<Executive Officer>, Executive Officer

- Table of Contents

I.	Facility Information	4

II.	Findings	5

III.	Discharge Prohibitions	13

IV.	Effluent Limitations and Discharge Specifications	14

A.	Effluent Limitations – Discharge Point <Discharge Point Name>	15

B.	Land Discharge Specifications – Discharge Point <Discharge Point Name>	20

C.	Reclamation Specifications – Discharge Point <Discharge Point Name>	20

V.	Receiving Water Limitations	21

A.	Surface Water Limitations	21

B.	Groundwater Limitations	22

VI.	Provisions	23

A.	Standard Provisions	23

B.	Monitoring and Reporting Program (MRP) Requirements	24

C.	Special Provisions	24

1.	Reopener Provisions	24

2.	Special Studies, Technical Reports and Additional Monitoring Requirements	25

3.	Best Management Practices and Pollution Prevention	27

4.	Construction, Operation and Maintenance Specifications	28

5.	Special Provisions for Municipal Facilities (POTWs Only)	29

6.	Other Special Provisions	29

7.	Compliance Schedules	29

VII.	Compliance Determination	30

List of Tables

Table 1.  Discharger Information	1

Table 2.  Discharge Location	1

Table 3.  Administrative Information	1

Table 4.  Facility Information	4

Table 5.  Basin Plan Beneficial Uses	7

Table 6.  Ocean Plan Beneficial Uses	8

Table 7.  Effluent Limitations	15

Table 8.  Interim Effluent Limitations	19

Table 9.  Land Discharge Specifications	20

Table 10.  Reclamation Discharge Specifications	21

List of Attachments

Attachment A – Definitions	A-1

Attachment B – Map	B-1

Attachment C – Flow Schematic	C-1

Attachment D – Standard Provisions	D-1

Attachment E – Monitoring and Reporting Program (MRP)	E-1

Attachment F – Fact Sheet	F-1

Regional Water Boards may include additional Attachments as necessary.

# I.	Facility Information

The following Discharger is subject to waste discharge requirements as set forth in this Order:

Table 4.  Facility Information

| Discharger | <Site Owner/Operator/Property Owner> |
| --- | --- |
| Name of Facility | <Facility Name, Facility City> |
| Facility Address | <Facility Street Address> |
|  | <Facility City, State Zip> |
|  | <Facility County Name> |
| Facility Contact, Title, and Phone | <Facility Contact Name>, <Title>, <Facility Contact Phone> |
| Mailing Address | <SAME> or <Facility Mailing Street Address> <Facility Mailing City, State Zip> |
| Type of Facility | <Facility Type; e.g., Publicly Owned Treatment Works or Industrial > |
| Facility Design Flow | <Facility Design Flow (in million gallons per day)> |

# II.	Findings

The California Regional Water Quality Control Board, <Regional Water Board Name> Region (hereinafter Regional Water Board), finds:

- Background. <Operator/Co-Permittee/Property Owner> (hereinafter Discharger) is currently discharging pursuant to Order No. <Existing Order No.> and National Pollutant Discharge Elimination System (NPDES) Permit No. <Existing NPDES Permit No.>.  The Discharger submitted a Report of Waste Discharge, dated <Application Date>, and applied for a NPDES permit renewal to discharge up to <Authorized Flow> of <treated/untreated> wastewater from <Facility Name>, hereinafter Facility.  The application was deemed complete on <Date Application Complete>.

Note: Replace the text above with the following paragraph for a new Discharger.

<Operator/Co-Permittee/Property Owner> (hereinafter Discharger) submitted a Report of Waste Discharge, dated <Application Date>, and applied for a National Pollutant Discharge Elimination System (NPDES) permit authorization to discharge up to <Authorized Flow> of <treated/untreated> wastewater from <Facility Name>.  The application was deemed complete on <Date Application Complete>.

For the purposes of this Order, references to the “discharger” or “permittee” in applicable federal and state laws, regulations, plans, or policy are held to be equivalent to references to the Discharger herein.

B.	Facility Description.  The Discharger <owns and> operates <Type of Facility>. The treatment system consists of <Brief Treatment System Description>.  Wastewater is discharged from Discharge <Discharge Point or Points> (see table on cover page) to the Pacific Ocean <and Receiving Water>, <a water or waters> of the United States.  Attachment B provides a map of the area around the facility.  Attachment C provides a flow schematic of the facility.

C.	Legal Authorities.  This Order is issued pursuant to section 402 of the federal Clean Water Act (CWA) and implementing regulations adopted by the U.S. Environmental Protection Agency (USEPA) and chapter 5.5, division 7 of the California Water Code (commencing with section 13370).  It shall serve as a NPDES permit for point source discharges from this facility to surface waters.  This Order also serves as Waste Discharge Requirements (WDRs) pursuant to article 4, chapter 4, division 7 of the Water Code (commencing with section 13260).

D.	Background and Rationale for Requirements.  The Regional Water Board developed the requirements in this Order based on information submitted as part of the application, through monitoring and reporting programs, and other available information.  The Fact Sheet (Attachment F), which contains background information and rationale for Order requirements, is hereby incorporated into this Order and constitutes part of the Findings for this Order. Attachments A through E <and G through # > are also incorporated into this Order.

- California Environmental Quality Act (CEQA).  Under Water Code section 13389, this action to adopt an NPDES permit is exempt from the provisions of the CEQA, Public Resources Code sections 21100-21177.

New Sources:  If the Discharger is a new source, as defined by the CWA, then CEQA must be met (Water Code § 13389) and this finding must be revised to indicate that CEQA requirements have been met.

For Discharges not regulated under an NPDES permit:  Refer to sample language requirements within APM Chapter 9, item 2, for various discharge conditions.

- Technology-based Effluent Limitations.  Section 301(b) of the CWA and implementing USEPA permit regulations at section 122.44, title 40 of the Code of Federal Regulations require that permits include conditions meeting applicable technology-based requirements at a minimum, and any more stringent effluent limitations necessary to meet applicable water quality standards.  The discharge authorized by this Order must meet minimum federal technology-based requirements based on <Secondary Treatment Standards at Part 133> or <Effluent Limitations Guidelines and Standards for the XXXX Category in Part 4XX> and/or < Best Professional Judgment (BPJ) in accordance with Part 125, section 125.3>.  A detailed discussion of the technology-based effluent limitations development is included in the Fact Sheet (Attachment F).

- Water Quality-Based Effluent Limitations.  Section 301(b) of the CWA and section 122.44(d) require that permits include limitations more stringent than applicable federal technology-based requirements where necessary to achieve applicable water quality standards.  <This Order contains requirements, expressed as a technology equivalence requirement, more stringent than secondary treatment requirements that are necessary to meet applicable water quality standards.  The rationale for these requirements, which consist of <tertiary treatment or equivalent requirements or other provisions>, is discussed in <reference where discussed in the Fact Sheet>.>

Section 122.44(d)(1)(i) mandates that permits include effluent limitations for all pollutants that are or may be discharged at levels that have the reasonable potential to cause or contribute to an exceedance of a water quality standard, including numeric and narrative objectives within a standard.  Where reasonable potential has been established for a pollutant, but there is no numeric criterion or objective for the pollutant, water quality-based effluent limitations (WQBELs) must be established using:  (1) USEPA criteria guidance under CWA section 304(a), supplemented where necessary by other relevant information; (2) an indicator parameter for the pollutant of concern; or (3) a calculated numeric water quality criterion, such as a proposed state criterion or policy interpreting the state’s narrative criterion, supplemented with other relevant information, as provided in section 122.44(d)(1)(vi).

H.	Water Quality Control Plans.  The Regional Water Board adopted a Water Quality Control Plan for the <Basin Name> (hereinafter Basin Plan) on <date> that designates beneficial uses, establishes water quality objectives, and contains implementation programs and policies to achieve those objectives for the Pacific Ocean <if applicable: and other receiving waters addressed through the plan.  In addition, the Basin Plan implements State Water Resources Control Board (State Water Board) Resolution No. 88-63, which established state policy that all waters, with certain exceptions, should be considered suitable or potentially suitable for municipal or domestic supply.> <Modify if such an exception applies and provide rationale in the Fact Sheet.> Beneficial uses applicable to the Pacific Ocean <and other Receiving Water(s)> are as follows:

Modify the paragraph above as appropriate for applicability of the Basin Plan if the facility also discharges to receiving waters other than the Pacific Ocean.  Reference the applicability of Resolution No. 88-63 if necessary to assign municipal and domestic supply use to water bodies that do not have beneficial uses listed in the Basin Plan.

Table 5.  Basin Plan Beneficial Uses

| Discharge Point | Receiving Water Name | Beneficial Use(s) |
| --- | --- | --- |
| 001 | Pacific Ocean | <Beneficial Uses for the Pacific Ocean from the Basin Plan:> |
| <XXX> | <Receiving water name; including surface and ground waters as appropriate> | <Beneficial Uses; Examples follow if uses have been qualified under their designation; modify as applicable> Existing: Warm freshwater habitat (WARM); wildlife habitat (WILD), preservation or rare, threatened or endangered species (RARE). Intermittent: Ground water recharge (GWR), freshwater replenishment (FRESH), contact (REC-1) and non-contact (REC-2) water recreation. Potential: Municipal and domestic water supply (MUN). |

Requirements of this Order implement the Basin Plan.

If applicable in reference to the Basin Plan, add a discussion of receiving waters on the CWA section 303(d) list and of any TMDLs completed that affect the basis of the water quality-based effluent limitations contained in the Order.  Additional discussions may be included related to endangered species considerations or other requirements that may affect development of water quality-based effluent limitations.  The Fact Sheet should provide a more detailed discussion of these issues.

Note: Include the following paragraph for discharges of thermal waste or elevated temperature waste (defined in the Thermal Plan) to cold and warm interstate and international waters, coastal waters outside of enclosed bays and estuaries but within California territorial limits, enclosed bays, estuaries, and coastal lagoons. Other types of discharges to these waters may require “limitations or additional limitations” defined in the Thermal Plan.  Do not include the paragraph if the Thermal Plan does not apply.  Do not include the paragraph if the Thermal Plan does not apply.  The reference to inland surface waters is not needed if there are no applicable requirements.

The State Water Board adopted the Water Quality Control Plan for Control of Temperature in the Coastal and Interstate Water and Enclosed Bays and Estuaries of California (Thermal Plan) on May 18, 1972, and amended this plan on September 18, 1975.  This plan contains temperature objectives for coastal <and inland surface> waters.  Requirements of this Order implement the Thermal Plan.

I.	California Ocean Plan.  The State Water Board adopted the Water Quality Control Plan for Ocean Waters of California, California Ocean Plan (Ocean Plan) in 1972 and amended it in 1978, 1983, 1988, 1990, 1997, 2000, and 2005.  The State Water Board adopted the latest amendment on April 21, 2005 and it became effective on February 14, 2006.  The Ocean Plan is applicable, in its entirety, to point source discharges to the ocean.  The Ocean Plan identifies beneficial uses of ocean waters of the State to be protected as summarized below:

Table 6.  Ocean Plan Beneficial Uses

| Discharge Point | Receiving Water | Beneficial Uses |
| --- | --- | --- |
| Outfall 001 | Pacific Ocean | Industrial water supply; water contact and non-contact recreation, including aesthetic enjoyment; navigation; commercial and sport fishing; mariculture; preservation and enhancement of designated Areas of Special Biological Significance (ASBS); rare and endangered species; marine habitat; fish spawning and shellfish harvesting |

In order to protect the beneficial uses, the Ocean Plan establishes water quality objectives and a program of implementation.  Requirements of this Order implement the Ocean Plan.

If the Order provides for a discharge to non-ocean surface water, import finding language from the SIP/CTR template version, Findings I (NTR and CTR), J (SIP), and K (Compliance Schedules and Interim Requirements), respectively, and re-label the following findings as appropriate.

J.  Alaska Rule.  On March 30, 2000, USEPA revised its regulation that specifies when new and revised state and tribal water quality standards (WQS) become effective for CWA purposes (40 C.F.R. § 131.21; 65 Fed. Reg. 24641; (April 27, 2000).)  Under the revised regulation (also known as the Alaska rule), new and revised standards submitted to USEPA after May 30, 2000 must be approved by USEPA before being used for CWA purposes.  The final rule also provides that standards already in effect and submitted to USEPA by May 30, 2000, may be used for CWA purposes, whether or not approved by USEPA.

K.	Stringency of Requirements for Individual Pollutants.  This Order contains both technology-based and water quality-based effluent limitations for individual pollutants.  The technology-based effluent limitations consist of restrictions on <pollutants listed>.  Restrictions on <same pollutants listed or referenced> are discussed in <reference where discussed in the Fact Sheet>.  This Order’s technology-based pollutant restrictions implement the minimum, applicable federal technology-based requirements.  <In addition, this Order contains effluent limitations more stringent than the minimum, federal technology-based requirements that are necessary to meet water quality standards.>  <These limitations are not more stringent than required by the CWA.> OR <These requirements include some limitations that are more stringent than required by the CWA.>

If restrictions are not more stringent, use the following language.

Water quality-based effluent limitations have been scientifically derived to implement water quality objectives that protect beneficial uses.  Both the beneficial uses and the water quality objectives have been approved pursuant to federal law and are the applicable federal water quality standards.  The scientific procedures for calculating the individual water quality-based effluent limitations are based on the Ocean Plan, which was approved by USEPA on February 14, 2006.  <Most/All> beneficial uses and water quality objectives contained in the Basin Plan were approved under state law and submitted to and approved by USEPA prior to May 30, 2000.  Any water quality objectives and beneficial uses submitted to USEPA prior to May 30, 2000, but not approved by USEPA before that date, are nonetheless “applicable water quality standards for purposes of the CWA” pursuant to section 131.21(c)(1).  <If “Most” is selected above: The remaining water quality objectives and beneficial uses implemented by this Order (specifically <list Basin Plan pollutant objectives>) were approved by USEPA on <dates>, respectively, and are applicable water quality standards pursuant to section 131.21(c)(2).>  Collectively, this Order’s restrictions on individual pollutants are no more stringent than required to implement the requirements of the CWA.

Consider adding the following model paragraph to complement the above language if economic data have been submitted.

The following additional language should be used if the discharger has submitted economic data and the effluent limitations are only as stringent as necessary to implement federal water quality standards.

On <date>, the Discharger submitted economic information indicating that the cost of complying with this Order would be <$$>.  The Regional Water Board has considered the specific costs identified in the Discharger’s submittal.  <The Discharger’s submittal does not consider more cost-effective means of implementing this Order, such as source control efforts.>  As discussed in <reference where discussed in the Fact Sheet>, the individual pollutant restrictions are no more stringent than necessary to implement applicable federal requirements or standards under the CWA.  Relaxation of the effluent limitations is not permissible.  Where appropriate, this Order <or the accompanying Cease and Desist/Time Schedule Order> provides additional time to achieve the pollutant-specific restriction.

Use the following language if one or more effluent limitations are more stringent than limitations necessary to implement minimum federal requirements.  For example, this language should be used if effluent limitations more stringent than limitations based on an existing applicable numeric objective are included in the permit.

This Order contains pollutant restrictions that are more stringent than applicable federal requirements and standards.  Specifically, this Order includes effluent limitations for <list pollutants> that are more stringent than applicable federal standards, but that are nonetheless necessary to meet numeric objectives or protect beneficial uses.  The rationale for including these limitations is explained in <reference where discussed in the Fact Sheet>.  In addition, the Regional Water Board has considered the factors in Water Code section 13241 in <reference where discussed in the Fact Sheet>.

The following additional language should be used if the discharger has submitted economic data. However, the effluent limitations are reasonably necessary to protect beneficial uses and the cost for compliance does not justify failing to protect the beneficial uses.

On <date>, the Discharger submitted economic information indicating that the cost of complying with this Order would be <$$>.  The Regional Water Board has considered the specific costs identified in the Discharger’s submittal.  <The Discharger’s submittal does not consider more cost-effective means of implementing this Order, such as source control efforts.>  As discussed in <reference where discussed in the Fact Sheet>, the individual pollutant restrictions are reasonably necessary to protect beneficial uses identified in the Basin Plan, and the economic information related to costs of compliance are not sufficient, in the Regional Water Board’s determination, to justify failing to protect beneficial uses.  Where appropriate, this Order <or the accompanying Cease and Desist/Time Schedule Order> provides additional time to achieve the pollutant-specific restriction.

L.	Antidegradation Policy.  Section 131.12 requires that the state water quality standards include an antidegradation policy consistent with the federal policy.  The State Water Board established California’s antidegradation policy in State Water Board Resolution No. 68-16.  Resolution No. 68-16 incorporates the federal antidegradation policy where the federal policy applies under federal law.  Resolution No. 68-16 requires that existing quality of waters be maintained unless degradation is justified based on specific findings.  The Regional Water Board’s Basin Plan implements, and incorporates by reference, both the state and federal antidegradation policies.  As discussed in detail in the Fact Sheet the permitted discharge is consistent with the antidegradation provision of section 131.12 and State Water Board Resolution No. 68-16.

M.	Anti-Backsliding Requirements.  Sections 402(o)(2) and 303(d)(4) of the CWA and federal regulations at title 40, Code of Federal Regulations section 122.44(l) prohibit backsliding in NPDES permits.  These anti-backsliding provisions require effluent limitations in a reissued permit to be as stringent as those in the previous permit, with some exceptions where limitations may be relaxed. <All effluent limitations in this Order are at least as stringent as the effluent limitations in the previous Order.> or <Some effluent limitations in this Order are less stringent that those in the previous Order. As discussed in detail in the Fact Sheet this relaxation of effluent limitations is consistent with the anti-backsliding requirements of the CWA and federal regulations.>

- Monitoring and Reporting.  Section 122.48 requires that all NPDES permits specify requirements for recording and reporting monitoring results.  Water Code sections 13267 and 13383 of the CWC authorizes the Regional Water Board to require technical and monitoring reports.  The Monitoring and Reporting Program establishes monitoring and reporting requirements to implement federal and State requirements.  This Monitoring and Reporting Program is provided in Attachment E.

Note: For special monitoring reports required under section 13267, include a brief explanation of the need for the report here (with reference to more detailed rationale contained in the Fact Sheet).

- Standard and Special Provisions.  Standard Provisions, which apply to all NPDES permits in accordance with section 122.41, and additional conditions applicable to specified categories of permits in accordance with section 122.42, are provided in Attachment D.  The Regional Water Board has also included in this Order special provisions applicable to the Discharger.  A rationale for the special provisions contained in this Order is provided in the attached Fact Sheet.

Note: In accordance with Water Code section 13263.3, the permit findings must justify why a pollution prevention plan is required.  Section 13263.3(d) lists four possible bases. Greater detail must be provided in the Fact Sheet.

In accordance with Water Code section 13267, the findings must also address the need for and evidence supporting non-NPDES monitoring, studies, etc. and NPDES special studies, special investigations, etc. that go beyond the requirements of the NPDES permit regulations.  Greater detail must be provided in the Fact Sheet.

- Provisions and Requirements Implementing State Law.  The provisions/requirements in subsections <IV.B, IV.C, V.B, and VI.C.<#>> of this Order are included to implement state law only.  These provisions/requirements are not required or authorized under the federal CWA; consequently, violations of these provisions/requirements are not subject to the enforcement remedies that are available for NPDES violations.

Q.	Notification of Interested Parties.  The Regional Water Board has notified the Discharger and interested agencies and persons of its intent to prescribe Waste Discharge Requirements for the discharge and has provided them with an opportunity to submit their written comments and recommendations.  Details of notification are provided in the Fact Sheet of this Order.

R.	Consideration of Public Comment.  The Regional Water Board, in a public meeting, heard and considered all comments pertaining to the discharge.  Details of the Public Hearing are provided in the Fact Sheet of this Order.

III.	Discharge Prohibitions

This section includes any general prohibitions that are standard for all permits. In addition, any prohibitions unique to the Regional Water Board issuing the Order or to the Discharger must be included in this section.  Sample Order language follows:

A.	Discharge of wastewater at a location <or period> from that described in this Order is prohibited.

B.	The bypass or overflow of untreated wastewater or wastes to surface waters or surface water drainage courses is prohibited, except as allowed in standard provision I.G. of Attachment D, Standard Provisions.

A.  <Include discharge prohibition>

B.	<etc.>

IV.	Effluent Limitations and Discharge Specifications

The Fact Sheet in Attachment F should be completed prior to beginning this section.

This subsection includes final and, where applicable, interim effluent limitations for EACH DISCHARGE POINT TO SURFACE WATERS and, if applicable, INTERNAL WASTE STREAM COMPLIANCE POINTS (e.g., 40 C.F.R. § 122.45(h)). Therefore, the table and any other requirements are repeated for each DISCHARGE POINT. Note that MONITORING LOCATIONS will be specified in the Monitoring and Reporting Program (Attachment E) for determining compliance with effluent limitations, which may be in some cases, distinct from the actual Discharge Points.

A permit writer may elect to combine the requirements for more than one Discharge Point into a single table if the requirements for those Discharge Points are EXACTLY THE SAME.  Otherwise, separate tables are required.  IMPORTANT!  For more complex discharge situations (e.g., multiple discharge points, seasonal limitations, and/or final and interim limitations), the permit writer must re-format the table arrangements and requirements all within subsection A.  The Land Discharge Specifications in subsection B (if applicable) and Reclamation Specifications in subsection C (if applicable) must follow Effluent Limitations of subsection A in the lettered sequence; otherwise hyperlinks for the Table of Contents will be fouled.

Attachment A includes the definitions of the term “daily discharge” and the six recommended effluent limit bases that are applicable under statewide policy and reflected in the effluent limitation tables . These definitions and how they are applied are discussed further in the Guide that accompanies this template.  Because applicable regulations, policies, and plans vary by type of facility (POTW or non-POTW) and discharge location (non-ocean or ocean), the recommended standard limitation bases vary by type of facility and discharge location.  Additional effluent limitation bases are not included in the effluent limitation tables.  The appropriate effluent limitation bases for parameters such as bacteria and whole effluent toxicity (e.g., percent survival, five-sample median, geometric mean) vary because of differences in how the Basin Plan water quality objectives for these parameters are expressed.  Include limitations for these and other parameters that use alternate effluent limitation bases in numbered requirements below the table of effluent limitations.

An example of an effluent limitation basis that may be required in some permits is an average annual effluent limitation.  Where more immediate information regarding compliance is desirable, one alternative to including an average annual effluent limitation in the permit is to determine appropriate average monthly effluent limitations instead.  Permit writers could consider the approach taken in the SIP for converting human health criteria to AMELs (or another technically defensible approach) to convert water quality objectives expressed as annual averages into AMELs.

Include in Attachment A the definition of any alternate effluent limitation bases used in the Order.

## A.	Effluent Limitations – Discharge Point <Discharge Point Name>

1.	Final Effluent Limitations – Discharge Point <Discharge Point Name>

- The Discharger shall maintain compliance with the following effluent limitations at Discharge Point <Discharge Point Name>, with compliance measured at Monitoring Location <Monitoring Location Name> as described in the attached MRP:

Note that the table formats provided below depend on whether the facility is a POTW or a non-POTW. Choose the table that fits the Discharger’s characteristics and delete the other tables. Note that for discharges to the ocean, Appendix D of the Permitting Guide provides the table formats with all required parameters included, other applicable effluent limitations, and clarifying footnotes for the table.

#### [NOTE: USE THE FOLLOWING TABLE TEMPLATE USE FOR POTW OCEAN DISCHARGES]

Note: This table provides the format for effluent limitations based on secondary treatment standards for POTWs and all the Ocean Plan Table A requirements. As default values, TSS limitations have been included based on the more stringent secondary treatment standards rather than the Table A requirements.  Any limitations with effluent limitation bases that do not conform to the table should be listed below the table.  Note that Appendix D of the Permitting Guide provides the table formats with all parameters included from Table B of the Ocean Plan, other applicable effluent limitations, and clarifying footnotes for the table.  The table also shows for clerical reasons how mass limitations should be shown when applicable.

Table 7.  Effluent Limitations

| Parameter | Units | Effluent Limitations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Instantaneous Minimum | Instantaneous Maximum | Six-Month Median |
| Biochemical Oxygen Demand 5-day @ 20°C | mg/L | 30 | 45 |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |
| Total Suspended Solids | mg/L | 30 | 45 |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |
| pH | standard units |  |  |  | 6.0 | 9.0 |  |
| Oil and Grease | mg/L | 25 | 40 |  |  | 75 |  |
|  | lbs/day |  |  |  |  |  |  |
| Settleable Solids | ml/L | 1.0 | 1.5 |  |  | 3.0 |  |
| Turbidity | NTU | 75 | 100 |  |  | 225 |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |

Add table footnotes as necessary.

b.	Percent Removal: The average monthly percent removal of BOD 5-day 20°C and total suspended solids shall not be less than 85 percent.

c.	<Include additional effluent limitations that do not conform to the limit bases in the table above.>

d.	Etc.

[NOTE: USE THE FOLLOWING TABLE TEMPLATE FOR NON-POTW OCEAN DISCHARGES NOT SUBJECT TO FEDERAL EFFLUENT GUIDELINES]

Note: This table includes effluent limitations based on Ocean Plan Table A requirements. Technology-based limitations still need to be developed, where appropriate, based on BPJ and compared to the Ocean Plan water quality-based limitations.  The more stringent of the technology-based and water quality-based limitations should be added to the table. Standard effluent limitation bases have been developed to maintain consistency.  Any limitations with effluent limitation bases that do not conform to the table should be listed below the table.  Note that Appendix D of the Permitting Guide provides the table formats with all parameters included from Table B of the Ocean Plan, other applicable effluent limitations, and clarifying footnotes for the table.  The table also shows for clerical reasons how mass limitations should be shown when applicable.

Table 7.  Effluent Limitations

| Parameter | Units | Effluent Limitations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Instantaneous Minimum | Instantaneous Maximum | Six-Month Median |
| Total Suspended Solids | mg/L | 60 |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |
| pH | standard units |  |  |  | 6.0 | 9.0 |  |
| Oil and Grease | mg/L | 25 | 40 |  |  | 75 |  |
|  | lbs/day |  |  |  |  |  |  |
| Settleable Solids | ml/L | 1.0 | 1.5 |  |  | 3.0 |  |
| Turbidity | NTU | 75 | 100 |  |  | 225 |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |

Add table footnotes as necessary.

b.	Percent Removal: The average monthly percent removal of total suspended solids shall not be less than 75 percent.

c.	<Include additional effluent limitations that do not conform to the limit bases in the table above.>

d.	Etc.

[NOTE: USE THE FOLLOWING TABLE TEMPLATE FOR NON-POTW OCEAN DISCHARGES SUBJECT TO FEDERAL EFFLUENT GUIDELINES]

Note: This table includes effluent limitations based on Ocean Plan Table B requirements. Technology-based limitations still need to be developed based on ELGs and compared, or added, to the Ocean Plan water quality-based limitations.  The more stringent of the technology-based and water quality-based limitations should be added to the table.  Standard effluent limitation bases have been developed to maintain consistency.  Any limitations with effluent limitation bases that do not conform to the table should be listed below the table.  Note that Appendix D of the Permitting Guide provides the table formats with all parameters included in Table B of the Ocean Plan, other applicable effluent limitations, and clarifying footnotes for the table.  The table also shows for clerical reasons how mass limitations should be shown when applicable.

Table 7.  Effluent Limitations

| Parameter | Units | Effluent Limitations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Instantaneous Minimum | Instantaneous Maximum | Six-Month Median |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |

Add table footnotes as necessary.

b.	<Include additional effluent limitations that do not conform to the limit bases in the table above.>

c.	Etc.

2.	Interim Effluent Limitations

Note:  Interim effluent limitations do not apply to an ocean discharge unless applicable plans specifically provide for compliance schedules and requirements for interim effluent limitations.  For example, the Ocean Plan as amended in 2005 does not provide for a compliance schedule to meet water quality objectives.  Basin Plans may vary in implementation of water quality objectives for the ocean.  If there is also discharge to non-ocean receiving waters, additional consideration could be given if the SIP-CTR or Basin Plan authorizes interim effluent limitations for those waters.

This subsection includes interim effluent limitations, if applicable, which apply to a specific Discharge Point.  The table of effluent limitations and other requirements are repeated for each applicable Discharge Point unless the same limitations can be applied to multiple discharge points.  IMPORTANT!  Any re-formatting of final and interim effluent limitations and requirements for complex discharge situations must be done within Effluent Limitations, subsection A.  Otherwise, hyperlinks for the Table of Contents will be fouled.

- During the period beginning <Permit Effective Date or Interim Limitations Begin Date> and ending on <Interim Limitations End Date>, the Discharger shall maintain compliance with the following limitations at <Discharge Point Name>, with compliance measured at Monitoring Location <Monitory Location Name> as described in the attached MRP.  These interim effluent limitations shall apply in lieu of the corresponding final effluent limitations specified for the same parameters during the time period indicated in this provision.

Note: The table used for Interim Effluent Limitations should resemble the table used above under Final Effluent Limitations for the same Discharge Point.  Copy the appropriate table from the Final Effluent Limitations section of the template (or use the table provided below) and adjust, as necessary, for Interim Effluent Limitations.  List all parameters for which Interim Effluent Limitations have been developed in the same order that they appear in the table of Final Effluent Limitations.  Section VI.C.7., Compliance Schedules, must also be included in this Order if Interim Effluent Limitations are provided.

If the Basin Plan allows a compliance schedule that exceeds 5 years, then the Order should not include an end date for the Interim Effluent Limitation.  The reason is that if the Order were not renewed on time, the Interim Effluent Limitations would continue in effect until the permit is reissued (through administrative continuation of the Order in accordance with title 40, Code of Federal Regulations section 122.6).

Table 8.  Interim Effluent Limitations

| Parameter |  | Units |  | Effluent Limitations |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Average Monthly |  | Maximum Daily |  | Instantaneous Minimum |  | Instantaneous Maximum |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |  |  |  |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |  |  |  |  |

Add table footnotes as necessary.

b.	<Include additional interim effluent limitations that do not conform to the limit bases in the table above.>

c.	Etc.

B.	Land Discharge Specifications – Discharge Point <Discharge Point Name>

This subsection defines specifications for non-NPDES discharges to on-site treatment, final, or disposal ponds or other non-reclamation land applications.  It also may include requirements related to operational practices, when applicable.  Some specifications (e.g., conductivity) may have a basis for discharge specifications in the Basin Plan (e.g., increase over influent) that is not accommodated by the table.  These specifications should be included as separate entries following the table or the table may be adjusted accordingly.  Some requirements for the construction, operation, and maintenance of these facilities/processes may be included as Special Provisions in the Order.  IF APPLICABLE, a separate section may also be included for Interim Land Discharge Specifications.  Optionally, separate WDRs may be issued to cover land discharge under state laws provided that applicable fees have been paid.  However, consolidated permits should be considered where they would provide for more efficient permitting.

1.	Beginning <Permit Effective Date or Interim Land Discharge Specification End Date>, the Discharger shall maintain compliance with the following limitations at <Discharge Point Name>, with compliance measured at Monitoring Location <Monitoring Location Name> as described in the attached MRP.

Table 9.  Land Discharge Specifications

| Parameter |  | Units |  | Discharge Specifications |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Average Monthly |  | Maximum Daily |  | Average Annual |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |  |

## C.	Reclamation Specifications – Discharge Point <Discharge Point Name>

This subsection defines specifications for non-NPDES off-site uses of reclaimed or recycled water. It also may include requirements related to operational practices, when applicable.  Some specifications (e.g., conductivity) may have a basis for discharge specifications in the Basin Plan (e.g., increase over influent) that is not accommodated by the table.  These specifications should be included as separate entries following the table or the table may be adjusted accordingly.  Some requirements for the construction, operation, and maintenance of these facilities/processes may be included as Special Provisions in the Order.  IF APPLICABLE, a separate section may also be included for Reclamation Specifications.  Optionally, separate WDRs may be issued for reclamation specifications under State laws provided that applicable fees have been paid.  However, consolidated permits should be considered where they would provide for more efficient permitting.

1.	Beginning <Permit Effective Date or Interim Reclamation Specification End Date>, the Discharger shall maintain compliance with the following limitations at <Discharge Point Location Name>, with compliance measured at Monitoring Location <Monitoring Location Name> as described in the attached MRP.

Table 10.  Reclamation Discharge Specifications

| Parameter | Units |  | Discharge Specifications |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Average Monthly | Maximum Daily | Average Annual |
| <Parameter Name> |  | <concentration> |  |  |  |
|  |  | lbs/day |  |  |  |
| <Parameter Name> |  | <concentration> |  |  |  |
|  |  | lbs/day |  |  |  |

The table above shows for clerical reasons how mass limitations should be shown when applicable.

Add table footnotes as necessary.

V.	Receiving Water Limitations

This section includes surface and groundwater limitations specific to each Basin Plan.

## Surface Water Limitations

This subsection incorporates receiving water limitations for surface water based on water quality objectives specified in the applicable Basin Plan, Ocean Plan, or other Water Quality Control Plan. The requirements below serve as examples only.

- Concentrations of dissolved oxygen (DO) to fall below X.X mg/L.  The monthly median… etc

- Esthetically undesirable discoloration.

Receiving water limitations should be incorporated verbatim or with minor grammatical changes from the applicable Basin Plan or other Water Quality Control Plan.

Receiving water limitations are based on water quality objectives contained in the Basin Plan and are a required part of this Order.  The discharge shall not cause the following in <Surface Receiving Water>:

1.	<Insert Surface Water Limitation>

2.	Etc.

## Groundwater Limitations

This subsection incorporates receiving water limitations for groundwater based on water quality objectives specified in the applicable Basin Plan, and may be included if, in addition to a discharge to surface water, there is a discharge affecting groundwater.  If there is a likelihood that wastewater will percolate and enter groundwater from percolation ponds, storage basins, reclamation areas, sludge beds, etc., groundwater limitations should be included.

Optionally, separate WDRs may be issued for groundwater limitations under state laws provided that applicable fees have been paid.  However, consolidated permits should be considered where they would provide for more efficient permitting.

Sample language is provided below:

- The discharge shall not cause the underlying groundwater to be degraded, to exceed water quality objectives, unreasonably affect beneficial uses, or cause a condition of pollution or nuisance.

- The discharge, in combination with other sources, shall not cause underlying groundwater to contain waste constituents in concentrations greater than background water quality, except for <Constituent>.  The incremental increase in <Constituent> over <Time Period> shall not exceed <Allowable Increase>.

1.	<Insert Groundwater Limitation>

2.	Etc.

# VI.	Provisions

This section includes both Standard Provisions and Special Provisions.

## Standard Provisions

This subsection includes two types of Standard Provisions.  The first set, included by reference to Attachment D, are the required federal NPDES standard conditions from Part 122, which must appear in every NPDES permit (i.e., they cannot be removed).  In addition, a second set of standard provisions is included in this section.  This set of provisions includes Regional Water Board standard provisions (if available) that may be modified as necessary by the Regional Water Board.

Standard provisions developed by the Regional Water Board should not be duplicative of federal standard provisions of title 40, Code of Federal Regulations, section 122.41.  However, under authority provided by section 122.1(a)(5) and 123.25(a)(12), the Regional Water Board is not precluded from omitting or modifying certain federal standard provisions to impose more stringent requirements.  The need for any more stringent requirements should be explained in Fact Sheet, Section VII.

1.	The Discharger shall comply with all Standard Provisions included in Attachment D of this Order.

2.	The Discharger shall comply with the following provisions:

<Include Regional Water Board-specific Standard Provisions>

Note:  The following provision is example language for Regional Water Board consideration.  The provision is intended to notify the Discharger that there are a variety of enforcement remedies for noncompliance with the permit, which complement Standard Provisions Attachment D, Enforcement Provisions VI.A.

b.   Failure to comply with provisions or requirements of this Order, or violation of other applicable laws or regulations governing discharges from this facility, may subject the Discharger to administrative or civil liabilities, criminal penalties, and/or other enforcement remedies to ensure compliance.  Additionally, certain violations may subject the Discharger to civil or criminal enforcement from appropriate local, state, or federal law enforcement entities.

Note:  The following provision is example language for Regional Water Board consideration.  The provision is a modification to provide a more stringent requirement in lieu of the federal standard condition at title 40, Code of Federal Regulations, section 122.41(l)(6)(ii)(C).  Rationale should be provided in Fact Sheet Section VII.A.

- In the event the Discharger does not comply or will be unable to comply for any reason, with any prohibition, <list limitation types as appropriate (e.g., maximum daily effluent limitation, hourly average effluent limitation, instantaneous maximum)>, or receiving water limitation of this Order, the Discharger shall notify the Regional Water Board by telephone (xxx) xxx-xxxx within 24 hours of having knowledge of such noncompliance, and shall confirm this notification in writing within five days, unless the Regional Water Board waives confirmation.  The written notification shall state the nature, time, duration, and cause of noncompliance, and shall describe the measures being taken to remedy the current noncompliance and, prevent recurrence including, where applicable, a schedule of implementation.  Other noncompliance requires written notification as above at the time of the normal monitoring report.

Include the following provision if there is a discharge to inland surface waters.

- Prior to making any change in the point of discharge, place of use, or purpose of use of treated wastewater that results in a decrease of flow in any portion of an inland watercourse, the Discharger must file a petition with the State Water Board, Division of Water Rights, and receive approval for such a change.  (Wat. Code § 1211.)

- Etc.

## Monitoring and Reporting Program (MRP) Requirements

This subsection references the Monitoring and Reporting Program found in Attachment E of the Order.

The Discharger shall comply with the MRP, and future revisions thereto, in Attachment E of this Order.

## C.	Special Provisions

### 1.	Reopener Provisions

This subsection includes provisions that specify conditions under which the Regional Water Board may reopen the Order. Such conditions may include, for example, completion of a TMDL or an effluent water quality study.

- This Order may be reopened for modification to include an effluent limitation if monitoring establishes that the discharge causes, has the reasonable potential to cause, or contributes to an excursion above an Ocean Plan Table B water quality objective.

- Etc.

### 2.	Special Studies, Technical Reports and Additional Monitoring Requirements

This subsection includes any requirements for special studies (i.e., mixing zone or dilution studies, sediment monitoring).  These studies may be required by the Order, or may be triggered by exceedance of an effluent limitation or other threshold.  In some cases, the studies may be optional (e.g., dilution studies).  This subsection also includes any special monitoring requirements outside the requirements of the Monitoring and Reporting Program.  For example, additional monitoring may be required through participation in Regional monitoring programs.  A rationale supporting the need for these special provisions should be included in the Fact Sheet.

Special provisions may be included in the Order to require the gathering of “evidence” to determine whether a constituent of concern is present in the effluent at levels above a calculated effluent limitation.  Such additional evidence is required for a PMP trigger.  See Ocean Plan section III.C.8.b and c. for descriptions of evidence used with triggers from samples reported as DNQ or ND.

a.	Toxicity Reduction Requirements

The following requirements are required to be incorporated into the Order based upon Ocean Plan section III.C.10.  The Regional Water Board might elect to replace the language with clarified requirements.  Extended example language from the Central Valley Regional Water Board is provided following the referenced language from the Ocean Plan below.

If the discharge consistently exceeds an effluent limitation for toxicity specified in <location> or an effluent limitation for an Ocean Plan Table B water quality objective specified in <location>, the Discharger shall conduct a Toxicity Reduction Evaluation (TRE) defined in Attachment A.  The TRE shall include all reasonable steps to identify the source of toxicity.  The Discharger shall take all reasonable steps to reduce toxicity to the required level once the source of toxicity is identified.

Example alternative language from the Central Valley Regional Water Board follows.

Chronic Whole Effluent Toxicity.  For compliance with the Basin Plan’s narrative toxicity objective, this Order requires the Discharger to conduct chronic whole effluent toxicity (WET) testing, as specified in MRP section V.  Furthermore, this Provision requires the Discharger to investigate the causes of, and identify corrective actions to reduce or eliminate effluent toxicity.  If the discharge exceeds the numeric toxicity monitoring trigger during accelerated monitoring established in this Provision, the Discharger is required to initiate a Toxicity Reduction Evaluation (TRE) in accordance with an approved TRE Work Plan, and take actions to mitigate the impact of the discharge and prevent recurrence of toxicity.  A TRE is a site-specific study conducted in a stepwise process to identify the source(s) of toxicity and the effective control measures for effluent toxicity.  TREs are designed to identify the causative agents and sources of whole effluent toxicity, evaluate the effectiveness of the toxicity control options, and confirm the reduction in effluent toxicity.  This Provision includes requirements for the Discharger to develop and submit a TRE Work Plan and includes procedures for accelerated chronic toxicity monitoring and TRE initiation.

i.	Toxicity Reduction Evaluation (TRE) Work Plan.  Within 90 days of the effective date of this Order, the Discharger shall submit to the Regional Water Board a TRE Work Plan for approval by the Executive Officer.  The TRE Work Plan shall outline the procedures for identifying the source(s) of, and reducing or eliminating effluent toxicity.  The TRE Work Plan must be developed in accordance with USEPA guidance <provide reference location> and be of adequate detail to allow the Discharger to immediately initiate a TRE as required in this Provision.

ii.	Accelerated Monitoring and TRE Initiation.  When the numeric toxicity monitoring trigger is exceeded during regular chronic toxicity monitoring, and the testing meets all test acceptability criteria, the Discharger shall initiate accelerated monitoring as required in the Accelerated Monitoring Specifications.  The Discharger shall initiate a TRE to address effluent toxicity if any WET testing results exceed the numeric toxicity monitoring trigger during accelerated monitoring.

iii.	Numeric Toxicity Monitoring Trigger.  The numeric toxicity monitoring trigger to initiate a TRE is > 1 TUC (where TUC = 100/NOEC).  The monitoring trigger is not an effluent limitation; it is the toxicity threshold at which the Discharger is required to begin accelerated monitoring and initiate a TRE.

iv.	Accelerated Monitoring Specifications.  If the numeric toxicity monitoring trigger is exceeded during regular chronic toxicity testing, the Discharger shall initiate accelerated monitoring within 14-days of notification by the laboratory of the exceedance.  Accelerated monitoring shall consist of four (4) chronic toxicity tests conducted once every two weeks using the species that exhibited toxicity.  The following protocol shall be used for accelerated monitoring and TRE initiation:

(a)	If the results of four (4) consecutive accelerated monitoring tests do not exceed the monitoring trigger, the Discharger may cease accelerated monitoring and resume regular chronic toxicity monitoring.  However, notwithstanding the accelerated monitoring results, if there is adequate evidence of a pattern of effluent toxicity, the Executive Officer may require that the Discharger initiate a TRE.

(b)	If the source(s) of the toxicity is easily identified (e.g., temporary plant upset), the Discharger shall make necessary corrections to the facility and shall continue accelerated monitoring until four (4) consecutive accelerated tests do not exceed the monitoring trigger.  Upon confirmation that the effluent toxicity has been removed, the Discharger may cease accelerated monitoring and resume regular chronic toxicity monitoring.

(c)	If the result of any accelerated toxicity test exceeds the monitoring trigger, the Discharger shall cease accelerated monitoring and begin a TRE to investigate the cause(s) of, and identify corrective actions to reduce or eliminate effluent toxicity.  Within thirty (30) days of notification by the laboratory of any test result exceeding the monitoring trigger during accelerated monitoring, the Discharger shall submit a TRE Action Plan to the Regional Water Board including, at minimum:

(1)	Specific actions the Discharger will take to investigate and identify the cause(s) of toxicity, including a TRE WET monitoring schedule;

(2)	Specific actions the Discharger will take to mitigate the impact of the discharge and prevent the recurrence of toxicity; and

(3)	A schedule for these actions.

b.	Etc.

### Best Management Practices and Pollution Prevention

This subsection includes requirements for Best Management Practices to control the discharge of pollutants when numeric limitations are infeasible, for storm water discharges associated with industrial activity, or other Best Management and Pollution Prevention requirements, if applicable.

Water Code section 13263.3: The permit findings must indicate the bases on which a pollution prevention plan is required. Section 13263.3(d) lists four possible bases. Justification, based on the possible bases, should be provided in the Fact Sheet.

a.	Pollutant Minimization Program

The Discharger shall develop and conduct a PMP as further described below when there is evidence (e.g., sample results reported as DNQ when the effluent limitation is less than the MDL, sample results from analytical methods more sensitive than those methods required by this Order, presence of whole effluent toxicity, health advisories for fish consumption, results of benthic or aquatic organism tissue sampling) that a pollutant is present in the effluent above an effluent limitation and either:

- The concentration of the pollutant is reported as DNQ and the effluent limitation is less than the reported ML; or

ii.	The concentration of the pollutant is reported as ND and the effluent limitation is less than the MDL, using definitions described in Attachment A and reporting protocols described in MRP section X.B.4.

The PMP shall include, but not be limited to, the following actions and submittals acceptable to the Regional Water Board:

The annual review and semi-annual and quarterly monitoring cited below is from Ocean Plan section III.C.9.d.  If these frequencies are not appropriate, consider other justifiable frequencies.

i.	An annual review and semi-annual monitoring of potential sources of the reportable pollutant(s), which may include fish tissue monitoring and other bio-uptake sampling;

ii.	Quarterly monitoring for the reportable pollutant(s) in the influent to the wastewater treatment system;

iii.	Submittal of a control strategy designed to proceed toward the goal of maintaining concentrations of the reportable pollutant(s) in the effluent at or below the effluent limitation;

iv.	Implementation of appropriate cost-effective control measures for the reportable pollutant(s), consistent with the control strategy; and

v.	An annual status report that shall be sent to the Regional Water Board including:

1.  All PMP monitoring results for the previous year;

2.  A list of potential sources of the reportable pollutant(s);

3.  A summary of all actions undertaken pursuant to the control strategy; and

- 4.  A description of actions to be taken in the following year.

### 4.	Construction, Operation and Maintenance Specifications

This subsection includes requirements for the construction, operation or maintenance of facilities; processes; disposal sites; waste management; etc, if applicable to a site.  There may be many special conditions for different processes or activities conducted at the site (e.g., solids/sludge handling and disposal, spills, leaks, disposal to ponds, waste disposal).  With certain exceptions described in Water Code section 13360, WDRs are restricted from specifying the design, location, type of construction, or particular manner in which compliance may be had with requirements in this Order.

a.	<Include Construction, Operation, and Maintenance Specifications>

b.	Etc.

### 5.	Special Provisions for Municipal Facilities (POTWs Only)

This subsection includes special provisions that are applicable only to municipal facilities (POTWs), including, for example:

- Sludge Disposal Requirements.

- Pretreatment Program.

- Combined Sewer Overflows (CSOs).

- Sanitary Sewer Overflows/Collection Systems.

Any similar requirements for non-municipal facilities should be included in section VI. 4. Construction, Operation, and Maintenance Specifications or, if more appropriate, in VI. 6. Other Special Provisions.

a.	<Include Municipal Special Provision (e.g., pretreatment program, sludge disposal)>

The following requirement is only needed for POTWs.  If not applicable, the requirement and the definition for satellite collection systems in Attachment A may be removed.

b.	The Discharger’s collection system is part of the system that is subject to this Order.  As such, the Discharger must properly operate and maintain its collection system (40 C.F.R. § 122.41(e)).  The Discharger must report any non-compliance (40 C.F.R. § 122.41(l)(6) and (7)) and mitigate any discharge from the collection system in violation of this Order (40 C.F.R. § 122.41(d)).  See the Order at Standard Provision VI.A.2.<c> and Attachment D, subsections I.D, V.E, V.H, and I.C.

c.	Etc.

### 6.	Other Special Provisions

### Compliance Schedules

This subsection includes compliance schedule requirements if authorized under applicable water quality control plans.  Note that the Ocean Plan does not provide for compliance schedules for effluent limitations.  Compliance schedules should clearly indicate when interim requirements are no longer applicable.

This subsection should include a compilation of milestone schedule dates for achievement of final effluent limitations and/or development of special studies, technical reports, special monitoring, BMPs, PPP, PMP, construction, O&M specifications, pretreatment program, sludge disposal, etc.  Since the requirements for these activities may be specified in other subsections, they should be given clear titles for easy cross-reference.

a.	<Include Compliance Schedule>

b.	Etc.

# VII.	Compliance Determination

This section specifies how a facility and the Regional Water Board will determine compliance with effluent limitations or other permit requirements, as necessary.  The compliance determination language is undergoing revisions that will be forthcoming.

Compliance with the effluent limitations contained in Section IV of this Order will be determined as specified below:

- General.

Compliance with effluent limitations for reportable pollutants shall be determined using sample reporting protocols defined in the MRP and Attachment A <also modify to reference any other attachments defining MLs> of this Order.  For purposes of reporting and administrative enforcement by the Regional and State Water Boards, the Discharger shall be deemed out of compliance with effluent limitations if the concentration of the reportable pollutant in the monitoring sample is greater than the effluent limitation and greater than or equal to the reported Minimum Level (ML).

B.	Multiple Sample Data.

When determining compliance with a measure of central tendency (arithmetic mean, geometric mean, median, etc.) of multiple sample analyses and the data set contains one or more reported determinations of “Detected, but Not Quantified” (DNQ) or “Not Detected” (ND), the Discharger shall compute the median in place of the arithmetic mean in accordance with the following procedure:

- The data set shall be ranked from low to high, ranking the reported ND determinations lowest, DNQ determinations next, followed by quantified values (if any).  The order of the individual ND or DNQ determinations is unimportant.

- The median value of the data set shall be determined.  If the data set has an odd number of data points, then the median is the middle value.  If the data set has an even number of data points, then the median is the average of the two values around the middle unless one or both of the points are ND or DNQ, in which case the median value shall be the lower of the two data points where DNQ is lower than a value and ND is lower than DNQ.

C.	Average Monthly Effluent Limitation (AMEL).

If the average (or when applicable, the median determined by subsection B above for multiple sample data) of daily discharges over a calendar month exceeds the AMEL for a given parameter, this will represent a single violation, though the Discharger will be considered out of compliance for each day of that month for that parameter (e.g., resulting in 31 days of non-compliance in a 31-day month).  If only a single sample is taken during the calendar month and the analytical result for that sample exceeds the AMEL, the Discharger will be considered out of compliance for that calendar month.  The Discharger will only be considered out of compliance for days when the discharge occurs.  For any one calendar month during which no sample (daily discharge) is taken, no compliance determination can be made for that calendar month.

D.	Average Weekly Effluent Limitation (AWEL).

If the average (or when applicable, the median determined by subsection B above for multiple sample data) of daily discharges over a calendar week exceeds the AWEL for a given parameter, this will represent a single violation, though the Discharger will be considered out of compliance for each day of that week for that parameter, resulting in 7 days of non-compliance.  If only a single sample is taken during the calendar week and the analytical result for that sample exceeds the AWEL, the Discharger will be considered out of compliance for that calendar week.  The Discharger will only be considered out of compliance for days when the discharge occurs.  For any one calendar week during which no sample (daily discharge) is taken, no compliance determination can be made for that calendar week.

E.	Maximum Daily Effluent Limitation (MDEL).

If a daily discharge (or when applicable, determined by subsection B above for multiple sample data of a daily discharge) exceeds the MDEL for a given parameter, the Discharger will be considered out of compliance for that parameter for that 1 day only within the reporting period. For any 1 day during which no sample is taken, no compliance determination can be made for that day.

F.	Instantaneous Minimum Effluent Limitation.

If the analytical result of a single grab sample is lower than the instantaneous minimum effluent limitation for a parameter, the Discharger will be considered out of compliance for that parameter for that single sample. Non-compliance for each sample will be considered separately (e.g., the results of two grab samples taken within a calendar day that both are lower than the instantaneous minimum effluent limitation would result in two instances of non-compliance with the instantaneous minimum effluent limitation).

G.	Instantaneous Maximum Effluent Limitation.

If the analytical result of a single grab sample is higher than the instantaneous maximum effluent limitation for a parameter, the Discharger will be considered out of compliance for that parameter for that single sample. Non-compliance for each sample will be considered separately (e.g., the results of two grab samples taken within a calendar day that both exceed the instantaneous maximum effluent limitation would result in two instances of non-compliance with the instantaneous maximum effluent limitation).

H.	Six-month Median Effluent Limitation.

If the median of daily discharges over any 180-day period exceeds the six-month median effluent limitation for a given parameter, the Discharger will be considered out of compliance for each day of that 180-day period for that parameter. The next assessment of compliance will occur after the next sample is taken. If only a single sample is taken during a given 180-day period and the analytical result for that sample exceeds the six-month median, the Discharger will be considered out of compliance for the 180-day period. For any 180-period during which no sample is taken, no compliance determination can be made for the six-month median limitation.

Insert other descriptions for compliance determination as needed to implement Basin Plan Objectives.

Attachment A – Definitions

Acute Toxicity:

a.	Acute Toxicity (TUa)

Expressed in Toxic Units Acute (TUa)

| TUa = | 100 |
| --- | --- |
|  | 96-hr LC 50% |

b.	Lethal Concentration 50% (LC 50)

LC 50 (percent waste giving 50% survival of test organisms) shall be determined by static or continuous flow bioassay techniques using standard marine test species as specified in Ocean Plan Appendix III.  If specific identifiable substances in wastewater can be demonstrated by the discharger as being rapidly rendered harmless upon discharge to the marine environment, but not as a result of dilution, the LC 50 may be determined after the test samples are adjusted to remove the influence of those substances.

When it is not possible to measure the 96-hour LC 50 due to greater than 50 percent survival of the test species in 100 percent waste, the toxicity concentration shall be calculated by the expression:

| TUa = | log (100 - S) |
| --- | --- |
|  | 1.7 |

where:

S = percentage survival in 100% waste.  If S > 99, TUa shall be reported as zero.

Areas of Special Biological Significance (ASBS): are those areas designated by the State Water Board as ocean areas requiring protection of species or biological communities to the extent that alteration of natural water quality is undesirable.  All Areas of Special Biological Significance are also classified as a subset of STATE WATER QUALITY PROTECTION AREAS.

Average Monthly Effluent Limitation (AMEL):  the highest allowable average of daily discharges over a calendar month, calculated as the sum of all daily discharges measured during a calendar month divided by the number of daily discharges measured during that month.

Average Weekly Effluent Limitation (AWEL):  the highest allowable average of daily discharges over a calendar week (Sunday through Saturday), calculated as the sum of all daily discharges measured during a calendar week divided by the number of daily discharges measured during that week.

Chlordane shall mean the sum of chlordane-alpha, chlordane-gamma, chlordene-alpha, chlordene-gamma, nonachlor-alpha, nonachlor-gamma, and oxychlordane.

Chronic Toxicity:  This parameter shall be used to measure the acceptability of waters for supporting a healthy marine biota until improved methods are developed to evaluate biological response.

a.	Chronic Toxicity (TUc)

Expressed as Toxic Units Chronic (TUc)

| TUc = | 100 |
| --- | --- |
|  | NOEL |

b.	No Observed Effect Level (NOEL)

The NOEL is expressed as the maximum percent effluent or receiving water that causes no observable effect on a test organism, as determined by the result of a critical life stage toxicity test listed in Ocean Plan Appendix II.

Daily Discharge:  Daily Discharge is defined as either: (1) the total mass of the constituent discharged over the calendar day (12:00 am through 11:59 pm) or any 24-hour period that reasonably represents a calendar day for purposes of sampling (as specified in the permit), for a constituent with limitations expressed in units of mass or; (2) the unweighted arithmetic mean measurement of the constituent over the day for a constituent with limitations expressed in other units of measurement (e.g., concentration).

The daily discharge may be determined by the analytical results of a composite sample taken over the course of one day (a calendar day or other 24-hour period defined as a day) or by the arithmetic mean of analytical results from one or more grab samples taken over the course of the day.

For composite sampling, if 1 day is defined as a 24-hour period other than a calendar day, the analytical result for the 24-hour period will be considered as the result for the calendar day in which the 24-hour period ends.

DDT shall mean the sum of 4,4’DDT, 2,4’DDT, 4,4’DDE, 2,4’DDE, 4,4’DDD, and 2,4’DDD.

Degrade:  Degradation shall be determined by comparison of the waste field and reference site(s) for characteristic species diversity, population density, contamination, growth anomalies, debility, or supplanting of normal species by undesirable plant and animal species.  Degradation occurs if there are significant differences in any of three major biotic groups, namely, demersal fish, benthic invertebrates, or attached algae.  Other groups may be evaluated where benthic species are not affected, or are not the only ones affected.

Detected, but Not Quantified (DNQ) are those sample results less than the reported Minimum Level, but greater than or equal to the laboratory’s MDL.

Dichlorobenzenes shall mean the sum of 1,2- and 1,3-dichlorobenzene.

Downstream Ocean Waters shall mean waters downstream with respect to ocean currents.

Dredged Material:  Any material excavated or dredged from the navigable waters of the United States, including material otherwise referred to as “spoil”.

Enclosed Bays are indentations along the coast that enclose an area of oceanic water within distinct headlands or harbor works.  Enclosed bays include all bays where the narrowest distance between headlands or outermost harbor works is less than 75 percent of the greatest dimension of the enclosed portion of the bay.  This definition includes but is not limited to:  Humboldt Bay, Bodega Harbor, Tomales Bay, Drakes Estero, San Francisco Bay, Morro Bay, Los Angeles Harbor, Upper and Lower Newport Bay, Mission Bay, and San Diego Bay.

Endosulfan shall mean the sum of endosulfan-alpha and -beta and endosulfan sulfate.

Estuaries and Coastal Lagoons are waters at the mouths of streams that serve as mixing zones for fresh and ocean waters during a major portion of the year.  Mouths of streams that are temporarily separated from the ocean by sandbars shall be considered as estuaries.  Estuarine waters will generally be considered to extend from a bay or the open ocean to the upstream limit of tidal action but may be considered to extend seaward if significant mixing of fresh and salt water occurs in the open coastal waters.  The waters described by this definition include but are not limited to the Sacramento-San Joaquin Delta as defined by Section 12220 of the California Water Code, Suisun Bay, Carquinez Strait downstream to Carquinez Bridge, and appropriate areas of the Smith, Klamath, Mad, Eel, Noyo, and Russian Rivers.

Halomethanes shall mean the sum of bromoform, bromomethane (methyl bromide) and chloromethane (methyl chloride).

HCH shall mean the sum of the alpha, beta, gamma (lindane) and delta isomers of hexachlorocyclohexane.

Initial Dilution is the process that results in the rapid and irreversible turbulent mixing of wastewater with ocean water around the point of discharge.

For a submerged buoyant discharge, characteristic of most municipal and industrial wastes that are released from the submarine outfalls, the momentum of the discharge and its initial buoyancy act together to produce turbulent mixing.  Initial dilution in this case is completed when the diluting wastewater ceases to rise in the water column and first begins to spread horizontally.

For shallow water submerged discharges, surface discharges, and non-buoyant discharges, characteristic of cooling water wastes and some individual discharges, turbulent mixing results primarily from the momentum of discharge.  Initial dilution, in these cases, is considered to be completed when the momentum induced velocity of the discharge ceases to produce significant mixing of the waste, or the diluting plume reaches a fixed distance from the discharge to be specified by the Regional Board, whichever results in the lower estimate for initial dilution.

Instantaneous Maximum Effluent Limitation: the highest allowable value for any single grab sample or aliquot (i.e., each grab sample or aliquot is independently compared to the instantaneous maximum limitation).

Instantaneous Minimum Effluent Limitation: the lowest allowable value for any single grab sample or aliquot (i.e., each grab sample or aliquot is independently compared to the instantaneous minimum limitation).

Kelp Beds, for purposes of the bacteriological standards of the Ocean Plan, are significant aggregations of marine algae of the genera Macrocystis and Nereocystis.  Kelp beds include the total foliage canopy of Macrocystis and Nereocystis plants throughout the water column.

Mariculture is the culture of plants and animals in marine waters independent of any pollution source.

Material:  (a) In common usage:  (1) the substance or substances of which a thing is made or composed (2) substantial; (b) For purposes of the Ocean Plan relating to waste disposal, dredging and the disposal of dredged material and fill, MATERIAL means matter of any kind or description which is subject to regulation as waste, or any material dredged from the navigable waters of the United States.  See also, DREDGED MATERIAL.

Maximum Daily Effluent Limitation (MDEL): the highest allowable daily discharge of a pollutant.

MDL (Method Detection Limit) is the minimum concentration of a substance that can be measured and reported with 99% confidence that the analyte concentration is greater than zero, as defined in title 40 of the Code of Federal Regulations, PART 136, Appendix B.

Minimum Level (ML) is the concentrations at which the entire analytical system must give a recognizable signal and acceptable calibration point.  The ML is the concentration in a sample that is equivalent to the concentration of the lowest calibration standard analyzed by a specific analytical procedure, assuming that all the method-specified sample weights, volumes and processing steps have been followed.

Natural Light:  Reduction of natural light may be determined by the Regional Water Board by measurement of light transmissivity or total irradiance, or both, according to the monitoring needs of the Regional Water Board.

Not Detected (ND) are those sample results less than the laboratory’s MDL.

Ocean Waters are the territorial marine waters of the state as defined by California law to the extent these waters are outside of enclosed bays, estuaries, and coastal lagoons.  If a discharge outside the territorial waters of the state could affect the quality of the waters of the state, the discharge may be regulated to assure no violation of the Ocean Plan will occur in ocean waters.

PAHs (polynuclear aromatic hydrocarbons) shall mean the sum of acenaphthylene, anthracene, 1,2-benzanthracene, 3,4-benzofluoranthene, benzo[k]fluoranthene, 1,12-benzoperylene, benzo[a]pyrene, chrysene, dibenzo[ah]anthracene, fluorene, indeno[1,2,3-cd]pyrene, phenanthrene and pyrene.

PCBs (polychlorinated biphenyls) shall mean the sum of chlorinated biphenyls whose analytical characteristics resemble those of Aroclor-1016, Aroclor-1221, Aroclor-1232, Aroclor-1242, Aroclor-1248, Aroclor-1254 and Aroclor-1260.

Pollutant Minimization Program (PMP) means waste minimization and pollution prevention actions that include, but are not limited to, product substitution, waste stream recycling, alternative waste management methods, and education of the public and businesses.  The goal of the PMP shall be to reduce all potential sources of Ocean Plan Table B pollutants through pollutant minimization (control) strategies, including pollution prevention measures as appropriate, to maintain the effluent concentration at or below the water quality-based effluent limitation.  Pollution prevention measures may be particularly appropriate for persistent bioaccumulative priority pollutants where there is evidence that beneficial uses are being impacted.  The Regional Water Board may consider cost effectiveness when establishing the requirements of a PMP.  The completion and implementation of a Pollution Prevention Plan, if required pursuant to Water Code section 13263.3(d), shall be considered to fulfill the PMP requirements.

Reported Minimum Level is the ML (and its associated analytical method) chosen by the Discharger for reporting and compliance determination from the MLs included in this Order.  The MLs included in this Order correspond to approved analytical methods for reporting a sample result that are selected by the Regional Water Board either from Appendix II of the Ocean Plan in accordance with section III.C.5.a. of the Ocean Plan or established in accordance with section III.C.5.b. of the Ocean Plan.  The ML is based on the proper application of method-based analytical procedures for sample preparation and the absence of any matrix interferences.  Other factors may be applied to the ML depending on the specific sample preparation steps employed.  For example, the treatment typically applied in cases where there are matrix-effects is to dilute the sample or sample aliquot by a factor of ten.  In such cases, this additional factor must be applied to the ML in the computation of the reported ML.

Satellite Collection System is the portion, if any, of a sanitary sewer system owned or operated by a different public agency than the agency that owns and operates the wastewater treatment facility that a sanitary sewer system is tributary to.

Shellfish are organisms identified by the California Department of Health Services as shellfish for public health purposes (i.e., mussels, clams and oysters).

Significant Difference is defined as a statistically significant difference in the means of two distributions of sampling results at the 95 percent confidence level.

Six-month Median Effluent Limitation: the highest allowable moving median of all daily discharges for any 180-day period.

State Water Quality Protection Areas (SWQPAs) are non-terrestrial marine or estuarine areas designated to protect marine species or biological communities from an undesirable alteration in natural water quality.  All AREAS OF SPECIAL BIOLOGICAL SIGNIFICANCE (ASBS) that were previously designated by the State Water Board in Resolution No.s 74-28, 74-32, and 75-61 are now also classified as a subset of State Water Quality Protection Areas and require special protections afforded by the Ocean Plan.

TCDD Equivalents shall mean the sum of the concentrations of chlorinated dibenzodioxins (2,3,7,8-CDDs) and chlorinated dibenzofurans (2,3,7,8-CDFs) multiplied by their respective toxicity factors, as shown in the table below.

| Isomer Group |  | Toxicity Equivalence Factor |
| --- | --- | --- |
| 2,3,7,8-tetra CDD |  | 1.0 |
| 2,3,7,8-penta CDD |  | 0.5 |
| 2,3,7,8-hexa CDDs |  | 0.1 |
| 2,3,7,8-hepta CDD |  | 0.01 |
| octa CDD |  | 0.001 |
| 2,3,7,8 tetra CDF |  | 0.1 |
| 1,2,3,7,8 penta CDF |  | 0.05 |
| 2,3,4,7,8 penta CDF |  | 0.5 |
| 2,3,7,8 hexa CDFs |  | 0.1 |
| 2,3,7,8 hepta CDFs |  | 0.01 |
| octa CDF |  | 0.001 |

Toxicity Reduction Evaluation (TRE) is a study conducted in a step-wise process designed to identify the causative agents of effluent or ambient toxicity, isolate the sources of toxicity, evaluate the effectiveness of toxicity control options, and then confirm the reduction in toxicity.  The first steps of the TRE consist of the collection of data relevant to the toxicity, including additional toxicity testing, and an evaluation of facility operations and maintenance practices, and best management practices.  A TOXICITY IDENTIFICATION EVALUATION (TIE) may be required as part of the TRE, if appropriate.  (A TIE is a set of procedures to identify the specific chemical(s) responsible for toxicity.  These procedures are performed in three phases (characterization, identification, and confirmation) using aquatic organism toxicity tests.)

Waste:  As used in the Ocean Plan, waste includes a Discharger’s total discharge, of whatever origin, i.e., gross, not net, discharge.

Water Reclamation:  The treatment of wastewater to render it suitable for reuse, the transportation of treated wastewater to the place of use, and the actual use of treated wastewater for a direct beneficial use or controlled use that would not otherwise occur.

Include as necessary, any additional standardized definitions.  If the SIP/CTR is applicable for a discharge to non-ocean surface water, additional definitions may need to be imported as applicable.

Attachment B – Map

This attachment includes a map(s) showing the permitted facility, the area surrounding the facility, and the receiving water.

Attachment C – Flow Schematic

This attachment includes a diagram(s) showing the flow of water and wastewater through the facility, including, if available, raw water supply, flow rates through various processes, and flow rates into and out of the treatment system. This diagram also should indicate the Discharge Points and Monitoring Locations.

Attachment D –Standard Provisions

This attachment includes all federal standard provisions and must be included with all NPDES permits.  The Office of Chief Council at the State Water Board has reviewed these federal provisions together with provisions of the Water Code.  Specific provisions from the Regional Water Board, when available, should be placed directly into section VI.A.2. of the Limitations and Discharge Requirements of the Order.

I.	Standard Provisions – Permit Compliance

A.	Duty to Comply

1.	The Discharger must comply with all of the conditions of this Order. Any noncompliance constitutes a violation of the Clean Water Act (CWA) and the California Water Code and is grounds for enforcement action, for permit termination, revocation and reissuance, or modification; or denial of a permit renewal application.  (40 C.F.R. § 122.41(a).)

2.	The Discharger shall comply with effluent standards or prohibitions established under Section 307(a) of the CWA for toxic pollutants and with standards for sewage sludge use or disposal established under Section 405(d) of the CWA within the time provided in the regulations that establish these standards or prohibitions, even if this Order has not yet been modified to incorporate the requirement.  (40 C.F.R. § 122.41(a)(1).)

B.	Need to Halt or Reduce Activity Not a Defense

It shall not be a defense for a Discharger in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this Order.  (40 C.F.R. § 122.41(c).)

C.	Duty to Mitigate

The Discharger shall take all reasonable steps to minimize or prevent any discharge or sludge use or disposal in violation of this Order that has a reasonable likelihood of adversely affecting human health or the environment.  (40 C.F.R. § 122.41(d).)

D.	Proper Operation and Maintenance

The Discharger shall at all times properly operate and maintain all facilities and systems of treatment and control (and related appurtenances) which are installed or used by the Discharger to achieve compliance with the conditions of this Order.  Proper operation and maintenance also includes adequate laboratory controls and appropriate quality assurance procedures.  This provision requires the operation of backup or auxiliary facilities or similar systems that are installed by a Discharger only when necessary to achieve compliance with the conditions of this Order.  (40 C.F.R. § 122.41(e).)

E.	Property Rights

1.	This Order does not convey any property rights of any sort or any exclusive privileges.      (40 C.F.R. § 122.41(g).)

2.	The issuance of this Order does not authorize any injury to persons or property or invasion of other private rights, or any infringement of state or local law or regulations.  (40 C.F.R. § 122.5(c).)

F.	Inspection and Entry

The Discharger shall allow the Regional Water Board, State Water Board, United States Environmental Protection Agency (USEPA), and/or their authorized representatives (including an authorized contractor acting as their representative), upon the presentation of credentials and other documents, as may be required by law, to (40 C.F.R. § 122.41(i); Wat. Code, § 13383):

1.	Enter upon the Discharger's premises where a regulated facility or activity is located or conducted, or where records are kept under the conditions of this Order  (40 C.F.R. § 122.41(i)(1));

2.	Have access to and copy, at reasonable times, any records that must be kept under the conditions of this Order  (40 C.F.R. § 122.41(i)(2));

3.	Inspect and photograph, at reasonable times, any facilities, equipment (including monitoring and control equipment), practices, or operations regulated or required under this Order  (40 C.F.R. § 122.41(i)(3)); and

4.	Sample or monitor, at reasonable times, for the purposes of assuring Order compliance or as otherwise authorized by the CWA or the Water Code, any substances or parameters at any location.  (40 C.F.R. § 122.41(i)(4).)

G.	Bypass

1.	Definitions

a.	“Bypass” means the intentional diversion of waste streams from any portion of a treatment facility.  (40 C.F.R. § 122.41(m)(1)(i).)

b.	“Severe property damage” means substantial physical damage to property, damage to the treatment facilities, which causes them to become inoperable, or substantial and permanent loss of natural resources that can reasonably be expected to occur in the absence of a bypass.  Severe property damage does not mean economic loss caused by delays in production.  (40 C.F.R. § 122.41(m)(1)(ii).)

2.	Bypass not exceeding limitations.  The Discharger may allow any bypass to occur which does not cause exceedances of effluent limitations, but only if it is for essential maintenance to assure efficient operation.  These bypasses are not subject to the provisions listed in Standard Provisions – Permit Compliance I.G.3, I.G.4, and I.G.5 below.  (40 C.F.R. § 122.41(m)(2).)

3.	Prohibition of bypass.  Bypass is prohibited, and the Regional Water Board may take enforcement action against a Discharger for bypass, unless (40 C.F.R. § 122.41(m)(4)(i)):

a.	Bypass was unavoidable to prevent loss of life, personal injury, or severe property damage (40 C.F.R. § 122.41(m)(4)(i)(A));

b.	There were no feasible alternatives to the bypass, such as the use of auxiliary treatment facilities, retention of untreated wastes, or maintenance during normal periods of equipment downtime.  This condition is not satisfied if adequate back-up equipment should have been installed in the exercise of reasonable engineering judgment to prevent a bypass that occurred during normal periods of equipment downtime or preventive maintenance (40 C.F.R. § 122.41(m)(4)(i)(B)); and

c.	The Discharger submitted notice to the Regional Water Board as required under Standard Provisions – Permit Compliance I.G.5 below.  (40 C.F.R. § 122.41(m)(4)(i)(C).)

4.	The Regional Water Board may approve an anticipated bypass, after considering its adverse effects, if the Regional Water Board determines that it will meet the three conditions listed in Standard Provisions – Permit Compliance I.G.3 above.  (40 C.F.R. § 122.41(m)(4)(ii).)

5.	Notice

a.	Anticipated bypass.  If the Discharger knows in advance of the need for a bypass, it shall submit a notice, if possible at least 10 days before the date of the bypass.  (40 C.F.R. § 122.41(m)(3)(i).)

b.	Unanticipated bypass.  The Discharger shall submit notice of an unanticipated bypass as required in Standard Provisions - Reporting V.E below (24-hour notice).  (40 C.F.R. § 122.41(m)(3)(ii).)

H.	Upset

Upset means an exceptional incident in which there is unintentional and temporary noncompliance with technology based permit effluent limitations because of factors beyond the reasonable control of the Discharger.  An upset does not include noncompliance to the extent caused by operational error, improperly designed treatment facilities, inadequate treatment facilities, lack of preventive maintenance, or careless or improper operation.  (40 C.F.R. § 122.41(n)(1).)

1.	Effect of an upset.  An upset constitutes an affirmative defense to an action brought for noncompliance with such technology based permit effluent limitations if the requirements of Standard Provisions – Permit Compliance I.H.2 below are met.  No determination made during administrative review of claims that noncompliance was caused by upset, and before an action for noncompliance, is final administrative action subject to judicial review.  (40 C.F.R. § 122.41(n)(2).)

2.	Conditions necessary for a demonstration of upset.  A Discharger who wishes to establish the affirmative defense of upset shall demonstrate, through properly signed, contemporaneous operating logs or other relevant evidence that (40 C.F.R. § 122.41(n)(3)):

a.	An upset occurred and that the Discharger can identify the cause(s) of the upset (40 C.F.R. § 122.41(n)(3)(i));

b.	The permitted facility was, at the time, being properly operated (40 C.F.R. § 122.41(n)(3)(ii));

c.	The Discharger submitted notice of the upset as required in Standard Provisions – Reporting V.E.2.b below (24-hour notice) (40 C.F.R. § 122.41(n)(3)(iii)); and

d.	The Discharger complied with any remedial measures required under 
Standard Provisions – Permit Compliance I.C above.  (40 C.F.R. § 122.41(n)(3)(iv).)

3.	Burden of proof.  In any enforcement proceeding, the Discharger seeking to establish the occurrence of an upset has the burden of proof.  (40 C.F.R. § 122.41(n)(4).)

II.	Standard Provisions – Permit Action

A.	General

This Order may be modified, revoked and reissued, or terminated for cause.  The filing of a request by the Discharger for modification, revocation and reissuance, or termination, or a notification of planned changes or anticipated noncompliance does not stay any Order condition. (40 C.F.R. § 122.41(f).)

B.	Duty to Reapply

If the Discharger wishes to continue an activity regulated by this Order after the expiration date of this Order, the Discharger must apply for and obtain a new permit.  (40 C.F.R. § 122.41(b).)

C.	Transfers

This Order is not transferable to any person except after notice to the Regional Water Board.  The Regional Water Board may require modification or revocation and reissuance of the Order to change the name of the Discharger and incorporate such other requirements as may be necessary under the CWA and the Water Code.  (40 C.F.R. § 122.41(l)(3); § 122.61.)

III.	 Standard Provisions – Monitoring

A.	Samples and measurements taken for the purpose of monitoring shall be representative of the monitored activity.  (40 C.F.R. § 122.41(j)(1).)

B.	Monitoring results must be conducted according to test procedures under Part 136 or, in the case of sludge use or disposal, approved under Part 136 unless otherwise specified in Part 503 unless other test procedures have been specified in this Order.  (40 C.F.R. § 122.41(j)(4); § 122.44(i)(1)(iv).)

IV.	 Standard Provisions – Records

A.	Except for records of monitoring information required by this Order related to the Discharger's sewage sludge use and disposal activities, which shall be retained for a period of at least five years (or longer as required by Part 503), the Discharger shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, copies of all reports required by this Order, and records of all data used to complete the application for this Order, for a period of at least three (3) years from the date of the sample, measurement, report or application.  This period may be extended by request of the Regional Water Board Executive Officer at any time.  (40 C.F.R. § 122.41(j)(2).)

B.	Records of monitoring information shall include:

1.	The date, exact place, and time of sampling or measurements (40 C.F.R. § 122.41(j)(3)(i));

2.	The individual(s) who performed the sampling or measurements (40 C.F.R. § 122.41(j)(3)(ii));

3.	The date(s) analyses were performed (40 C.F.R. § 122.41(j)(3)(iii));

4.	The individual(s) who performed the analyses (40 C.F.R. § 122.41(j)(3)(iv));

5.	The analytical techniques or methods used (40 C.F.R. § 122.41(j)(3)(v)); and

6.	The results of such analyses.  (40 C.F.R. § 122.41(j)(3)(vi).)

C.	Claims of confidentiality for the following information will be denied (40 C.F.R. § 122.7(b)):

1.	The name and address of any permit applicant or Discharger (40 C.F.R. § 122.7(b)(1)); and

2.	Permit applications and attachments, permits and effluent data.  (40 C.F.R. § 122.7(b)(2).)

V.	Standard Provisions – Reporting

A.	Duty to Provide Information

The Discharger shall furnish to the Regional Water Board, State Water Board, or USEPA within a reasonable time, any information which the Regional Water Board, State Water Board, or USEPA may request to determine whether cause exists for modifying, revoking and reissuing, or terminating this Order or to determine compliance with this Order.  Upon request, the Discharger shall also furnish to the Regional Water Board, State Water Board, or USEPA copies of records required to be kept by this Order.  (40 C.F.R. § 122.41(h); Wat. Code, § 13267.)

B.	Signatory and Certification Requirements

1.	All applications, reports, or information submitted to the Regional Water Board, State Water Board, and/or USEPA shall be signed and certified in accordance with Standard Provisions – Reporting V.B.2, V.B.3, V.B.4, and V.B.5 below.  (40 C.F.R. § 122.41(k).)

Select one of the three following directions for signature as applicable.

For a corporation, select only the following:

2.	All permit applications shall be signed by a responsible corporate officer.  For the purpose of this section, a responsible corporate officer means: (i) A president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy- or decision-making functions for the corporation, or (ii) the manager of one or more manufacturing, production, or operating facilities, provided, the manager is authorized to make management decisions which govern the operation of the regulated facility including having the explicit or implicit duty of making major capital investment recommendations, and initiating and directing other comprehensive measures to assure long term environmental compliance with environmental laws and regulations; the manager can ensure that the necessary systems are established or actions taken to gather complete and accurate information for permit application requirements; and where authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.  (40 C.F.R. § 122.22(a)(1).)

For a partnership or sole proprietorship, select only the following:

3.	All permit applications shall be signed by a general partner or the proprietor, respectively.  (40 C.F.R. § 122.22(a)(2).)

For a municipality, State, federal, or other public agency, select only the following:

4.	All permit applications shall be signed as follows:

5.	All permit applications shall be signed by either a principal executive officer or ranking elected official.  For purposes of this provision, a principal executive officer of a federal agency includes: (i) the chief executive officer of the agency, or (ii) a senior executive officer having responsibility for the overall operations of a principal geographic unit of the agency (e.g., Regional Administrators of USEPA).  (40 C.F.R. § 122.22(a)(3).)

6.	All reports required by this Order and other information requested by the Regional Water Board, State Water Board, or USEPA shall be signed by a person described in Standard Provisions – Reporting V.B.2 above, or by a duly authorized representative of that person.  A person is a duly authorized representative only if:

a.	The authorization is made in writing by a person described in Standard Provisions – Reporting V.B.2 above (40 C.F.R. § 122.22(b)(1));

b.	The authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility or activity such as the position of plant manager, operator of a well or a well field, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company.  (A duly authorized representative may thus be either a named individual or any individual occupying a named position.) (40 C.F.R. § 122.22(b)(2)); and

c.	The written authorization is submitted to the Regional Water Board and State Water Board.  (40 C.F.R. § 122.22(b)(3).)

7.	If an authorization under Standard Provisions – Reporting V.B.3 above is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, a new authorization satisfying the requirements of Standard Provisions – Reporting V.B.3 above must be submitted to the Regional Water Board and State Water Board prior to or together with any reports, information, or applications, to be signed by an authorized representative.  (40 C.F.R. § 122.22(c).)

8.	Any person signing a document under Standard Provisions – Reporting V.B.2 or V.B.3 above shall make the following certification:

“I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”  (40 C.F.R. § 122.22(d).)

C.	Monitoring Reports

1.	Monitoring results shall be reported at the intervals specified in the Monitoring and Reporting Program (Attachment E) in this Order.  (40 C.F.R. § 122.41(l)(4).)

Modify the above provision if there are also other monitoring requirements with reporting intervals specified elsewhere in the Order (e.g., Special Provisions).

2.	Monitoring results must be reported on a Discharge Monitoring Report (DMR) form or forms provided or specified by the Regional Water Board or State Water Board for reporting results of monitoring of sludge use or disposal practices. (40 C.F.R. § 122.41(l)(4)(i).)

3.	If the Discharger monitors any pollutant more frequently than required by this Order using test procedures approved under Part 136 or, in the case of sludge use or disposal, approved under Part 136 unless otherwise specified in Part 503, or as specified in this Order, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the DMR or sludge reporting form specified by the Regional Water Board.  (40 C.F.R. § 122.41(l)(4)(ii).)

4.	Calculations for all limitations, which require averaging of measurements, shall utilize an arithmetic mean unless otherwise specified in this Order.  (40 C.F.R. § 122.41(l)(4)(iii).)

D.	Compliance Schedules

Reports of compliance or noncompliance with, or any progress reports on, interim and final requirements contained in any compliance schedule of this Order, shall be submitted no later than 14 days following each schedule date.  (40 C.F.R. § 122.41(l)(5).)

E.	Twenty-Four Hour Reporting

1.	The Discharger shall report any noncompliance that may endanger health or the environment. Any information shall be provided orally within 24 hours from the time the Discharger becomes aware of the circumstances.  A written submission shall also be provided within five (5) days of the time the Discharger becomes aware of the circumstances.  The written submission shall contain a description of the noncompliance and its cause; the period of noncompliance, including exact dates and times, and if the noncompliance has not been corrected, the anticipated time it is expected to continue; and steps taken or planned to reduce, eliminate, and prevent reoccurrence of the noncompliance.  (40 C.F.R. § 122.41(l)(6)(i).)

2.	The following shall be included as information that must be reported within 24 hours under this paragraph (40 C.F.R. § 122.41(l)(6)(ii)):

a.	Any unanticipated bypass that exceeds any effluent limitation in this Order.  (40 C.F.R. § 122.41(l)(6)(ii)(A).)

b.	Any upset that exceeds any effluent limitation in this Order.  (40 C.F.R. § 122.41(l)(6)(ii)(B).)

3.	The Regional Water Board may waive the above-required written report under this provision on a case-by-case basis if an oral report has been received within 24 hours.  (40 C.F.R. § 122.41(l)(6)(iii).)

F.	Planned Changes

The Discharger shall give notice to the Regional Water Board as soon as possible of any planned physical alterations or additions to the permitted facility.  Notice is required under this provision only when (40 C.F.R. § 122.41(l)(1)):

1.	The alteration or addition to a permitted facility may meet one of the criteria for determining whether a facility is a new source in section 122.29(b) (40 C.F.R. § 122.41(l)(1)(i)); or

Select only one of the two following choices for paragraph 2.  Select the first choice below if the discharge is not an existing manufacturing, commercial, mining, or silvicultural discharge as referenced in section 122.42(a).  Otherwise, if the discharge is from such a facility, select the second choice.

2.	The alteration or addition could significantly change the nature or increase the quantity of pollutants discharged.  This notification applies to pollutants that are not subject to effluent limitations in this Order.  (40 C.F.R. § 122.41(l)(1)(ii).)

2.	The alteration or addition could significantly change the nature or increase the quantity of pollutants discharged.  This notification applies to pollutants that are subject neither to effluent limitations in this Order nor to notification requirements under section 122.42(a)(1) (see Additional Provisions—Notification Levels VII.A.1).  (40 C.F.R. § 122.41(l)(1)(ii).)

3.	The alteration or addition results in a significant change in the Discharger's sludge use or disposal practices, and such alteration, addition, or change may justify the application of permit conditions that are different from or absent in the existing permit, including notification of additional use or disposal sites not reported during the permit application process or not reported pursuant to an approved land application plan.  (40 C.F.R. § 122.41(l)(1)(iii).)

G.	Anticipated Noncompliance

The Discharger shall give advance notice to the Regional Water Board or State Water Board of any planned changes in the permitted facility or activity that may result in noncompliance with General Order requirements.  (40 C.F.R. § 122.41(l)(2).)

H.	Other Noncompliance

The Discharger shall report all instances of noncompliance not reported under Standard Provisions – Reporting V.C, V.D, and V.E above at the time monitoring reports are submitted. The reports shall contain the information listed in Standard Provision – Reporting V.E above.  (40 C.F.R. § 122.41(l)(7).)

I.	Other Information

When the Discharger becomes aware that it failed to submit any relevant facts in a permit application, or submitted incorrect information in a permit application or in any report to the Regional Water Board, State Water Board, or USEPA, the Discharger shall promptly submit such facts or information.  (40 C.F.R. § 122.41(l)(8).)

VI.	 Standard Provisions – Enforcement

A.	The Regional Water Board is authorized to enforce the terms of this permit under several provisions of the Water Code, including, but not limited to, sections 13385, 13386, and 13387.

VII.	Additional Provisions – Notification Levels

Select one of the two following provision groups forNon-Municipal Facilities or POTWs as applicable and delete the other.

A.	Non-Municipal Facilities

Existing manufacturing, commercial, mining, and silvicultural Dischargers shall notify the Regional Water Board as soon as they know or have reason to believe (40 C.F.R. § 122.42(a)):

1.	That any activity has occurred or will occur that would result in the discharge, on a routine or frequent basis, of any toxic pollutant that is not limited in this Order, if that discharge will exceed the highest of the following "notification levels" (40 C.F.R. § 122.42(a)(1)):

a.	100 micrograms per liter (μg/L) (40 C.F.R. § 122.42(a)(1)(i));

b.	200 μg/L for acrolein and acrylonitrile; 500 μg/L for 2,4-dinitrophenol and 2-methyl-4, 6-dinitrophenol; and 1 milligram per liter (mg/L) for antimony (40 C.F.R. § 122.42(a)(1)(ii));

c.	Five (5) times the maximum concentration value reported for that pollutant in the Report of Waste Discharge (40 C.F.R. § 122.42(a)(1)(iii)); or

d.	The level established by the Regional Water Board in accordance with 40 CFR Section 122.44(f).  (40 C.F.R. § 122.42(a)(1)(iv).)

2.	That any activity has occurred or will occur that would result in the discharge, on a non-routine or infrequent basis, of any toxic pollutant that is not limited in this Order, if that discharge will exceed the highest of the following “notification levels" (40 C.F.R. § 122.42(a)(2)):

a.	500 micrograms per liter (μg/L) (40 C.F.R. § 122.42(a)(2)(i));

b.	1 milligram per liter (mg/L) for antimony (40 C.F.R. § 122.42(a)(2)(ii));

c.	Ten (10) times the maximum concentration value reported for that pollutant in the Report of Waste Discharge (40 C.F.R. § 122.42(a)(2)(iii)); or

d.	The level established by the Regional Water Board in accordance with 40 CFR Section 122.44(f).  (40 C.F.R. § 122.42(a)(2)(iv).)

A.	Publicly-Owned Treatment Works (POTWs)

All POTWs shall provide adequate notice to the Regional Water Board of the following (40 C.F.R. § 122.42(b)):

1.	Any new introduction of pollutants into the POTW from an indirect discharger that would be subject to sections 301 or 306 of the CWA if it were directly discharging those pollutants (40 C.F.R. § 122.42(b)(1)); and

2.	Any substantial change in the volume or character of pollutants being introduced into that POTW by a source introducing pollutants into the POTW at the time of adoption of the Order.  (40 C.F.R. § 122.42(b)(2).)

3.	Adequate notice shall include information on the quality and quantity of effluent introduced into the POTW as well as any anticipated impact of the change on the quantity or quality of effluent to be discharged from the POTW.  (40 C.F.R. § 122.42(b)(3).)

Attachment E – Monitoring and Reporting Program

Table of Contents

Attachment E – Monitoring and Reporting Program (MRP)	E-6

I.	General Monitoring Provisions	E-6

A.	<Include General Monitoring Provision>	E-6

B.	Laboratory Certification	E-6

C.	Etc.	E-6

II.	Monitoring Locations	E-6

III.	Influent Monitoring Requirements	E-6

A.	Monitoring Location <Monitoring Location Name>	E-6

IV.	Effluent Monitoring Requirements	E-6

A.	Monitoring Location <Monitoring Location Name>	E-6

B.	Monitoring Location <Monitoring Location Name>	E-6

V.	Whole Effluent Toxicity Testing Requirements	E-6

VI.	Land Discharge Monitoring Requirements	E-6

A.	Monitoring Location <Monitoring Location Name>	E-6

B.	Monitoring Location <Monitoring Location Name>	E-6

VII.	Reclamation Monitoring Requirements	E-6

A.	Monitoring Location <Monitoring Location Name>	E-6

B.	Monitoring Location <Monitoring Location Name>	E-6

VIII.	 Receiving Water Monitoring Requirements – Surface Water and Groundwater	E-6

A.	Monitoring Location <Monitoring Location Name>	E-6

B.	Monitoring Location <Monitoring Location Name>	E-6

IX.	Other Monitoring Requirements	E-6

X.	Reporting Requirements	E-6

A.	General Monitoring and Reporting Requirements	E-6

B.	Self Monitoring Reports (SMRs)	E-6

C.	Discharge Monitoring Reports (DMRs)	E-6

C.	Other Reports	E-6

List of Tables

Table 1. Monitoring Station Locations	E-6

Table 2. Influent Monitoring	E-6

Table 3. Effluent Monitoring - 1	E-6

Table 4.  Effluent Monitoring - 2	E-6

Table 5a.  Land Discharge Monitoring Requirements - 1	E-6

Table 5b.  Land Discharge Monitoring Requirements - 2	E-6

Table 6a.  Reclamation Monitoring Requirements - 1	E-6

Table 6b.  Reclamation Monitoring Requirements - 2	E-6

Table 7a.  Receiving Water Monitoring Requirements - 1	E-6

Table 7b.  Receiving Water Monitoring Requirements - 2	E-6

Table 8.  Monitoring Periods and Reporting Schedule	E-6

Attachment E – Monitoring and Reporting Program (MRP)

This attachment contains the Monitoring and Reporting Program for the Discharger’s WDR/NPDES permit.

The Code of Federal Regulations section 122.48 requires that all NPDES permits specify monitoring and reporting requirements.  Water Code sections 13267 and 13383 also authorize the Regional Water Quality Control Board (Regional Water Board) to require technical and monitoring reports.  This MRP establishes monitoring and reporting requirements, which implement the federal and California regulations.

I.	General Monitoring Provisions

This section includes the Regional Water Board’s general monitoring provisions.

A.	<Include General Monitoring Provision>

- Laboratory Certification

Laboratories analyzing monitoring samples shall be certified by the Department of Health Services, in accordance with the provision of Water Code section 13176, and must include quality assurance/quality control data with their reports.

C.	Etc.

Monitoring Locations

This section describes the required monitoring locations.  The Monitoring Location can be defined as the point where; 1) compliance with an effluent limitation or discharge prohibition is determined or, 2) other sampling is required by a permit.  Note that a Discharge Point is a defined location where regulated effluent from a facility is actually discharged and is the point at which compliance with permit limitations and prohibitions is to be achieved.  A Discharge Point may or may not be the same as a Monitoring Location.  Latitude and longitude may not be available for all monitoring locations.

Monitoring Locations may be one of the following types.

- Influent (INF-001, INF-002…)

- Effluent (EFF-001, EFF-002 for different outfalls, or EFF-001A, EFF-001B for different monitoring locations on the same outfall)

- Internal (INT-001, INT-002…)

- Receiving Surface Water (RSW-001, RSW-002, etc.; optionally RSW-001U, RSW-001D, RSW-002U, RSW-002D, etc. for upstream and downstream reference in a stream or river)

- Receiving Ground Water (RGW-001, RGW-002…)

- Land Discharge (LND-001, LND-002…)

- Reclamation Discharge (REC-001, REC-002…)

- Water Supply Monitoring (SPL-001, SPL-002...)

- Pretreatment Monitoring (POTWs only) (PRE-001, PRE-002…)

- Biosolids Monitoring (POTWs only) (BIO-001, BIO-002…)

- Sediment Monitoring (SED-001, SED-002…)

For the ocean, station names may follow the above convention for Receiving Surface Water (i.e., RSW-001, RSW-002…) if appropriate descriptions are given for the location.  The following naming conventions may be used to provide a better description to ocean station arrangements:

- Perpendicular to shore by distance from shoreline points A, B, C, etc. (PER-025A, PER-100A, PER-1000A…)

- Perpendicular to shore at depth contours from shoreline points A, B, C, etc. (CTR-030A, CTR-050A, CTR-100A)

- Surf stations at shoreline points A, B, C, etc. (SRF-A, SRF-B, SRF-C…)

- Stations on a grid A to <Z> and 1 to <#> (GRD-01A, GRD-01B, GRD-02A, GRD-02B…)

- Transects A to B, C to D, etc. (TRN-AB, TRN-CD…)

- Trawl lines A, B, C, etc. (TWL-A, TWL-B…)

Stations used for specific monitoring purposes in the ocean may be better named in association with the purpose or location as follows:  Benthic (BEN-001), Light Energy (LEN-001), Temperature (TEM-001), Kelp (KLP-001), Mussel Watch (MUS-001), Current (CUR-001), Bacteria (BAC-001), Ambient Reference (REF-001).

Alternatively, designations following the hyphen could follow existing numbering/labeling.

The Discharger shall establish the following monitoring locations to demonstrate compliance with the effluent limitations, discharge specifications, and other requirements in this Order:

Table 1. Monitoring Station Locations

| Discharge Point Name | Monitoring Location Name | Monitoring Location Description (include Latitude and Longitude when available) |
| --- | --- | --- |
| -- | <e.g., INF-001> | <influent monitoring location description; latitude and longitude> |
| <e.g., 001> | <e.g., EFF-001A> | <monitoring location description> |
| <e.g., 001> | <e.g., EFF-001B> | <monitoring location description> |
| <e.g., 002> | <e.g., EFF-002> | <monitoring location description> |
| -- | <e.g., RSW-001> | <surface water monitoring location description> |
| <Discharge Point Name> | <Monitoring Location Name> | <monitoring location description> |

CORE MONITORING

III.	Influent Monitoring Requirements

This section includes influent monitoring requirements, if applicable. Influent monitoring locations should also be listed in Section II above.

A.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <influent to the facility or other description of monitored influent> at <Monitoring Location Name> as follows:

Table 2. Influent Monitoring

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

2.	Etc.

IV.	Effluent Monitoring Requirements

This section includes effluent monitoring requirements.  Monitoring Locations should also be listed in section II above. Monitoring requirements must be included, at a minimum, for each parameter listed in the Effluent Limitations section of the Order for each Discharge Point.  This section also includes any monitoring requirements for a pollutant without an effluent limitation.  For example, this section would also include the Ocean Plan Appendix III requirements for periodic monitoring of Ocean Plan Table B parameters for which no effluent limitations have been established.

A permit writer may elect to combine the requirements for more than one Monitoring Location into a single table if the requirements for those Monitoring Locations are EXACTLY THE SAME, otherwise separate tables for each location are required.

Minimum Level Selection:  When there is more than one ML value for a given substance, the Regional Water Board shall include in the permit all ML values and their associated analytical methods listed in Appendix II of the Ocean Plan that are below the calculated effluent limitation.  The discharger may select any one of those cited analytical methods for compliance determination.  If no ML value is below the effluent limitation, then the Regional Water Board shall select the lowest ML value, and its associated analytical method, listed in Appendix II for inclusion in the permit.  Alternatively to identifying the method and ML in the following table, a reference could be made to an additional Attachment specifying applicable MLs.

A.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <description of monitored effluent> at <Monitoring Location Name> as follows.  If more than one analytical test method is listed for a given parameter, the Discharger must select from the listed methods and corresponding Minimum Level:

Table 3. Effluent Monitoring - 1

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method and (Minimum Level, units), respectively |
| --- | --- | --- | --- | --- |

Note: If whole effluent toxicity monitoring is required for a Discharge Point, add a footnote to the table above referencing section V. Whole Effluent Toxicity Testing Requirements.

2.	Etc.

B.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <description of monitored effluent> at <Monitoring Location Name> as follows:

Table 4.  Effluent Monitoring - 2

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method and (Minimum Level, units), respectively |
| --- | --- | --- | --- | --- |

Note: If whole effluent toxicity monitoring is included, add a footnote referencing section V, Whole Effluent Toxicity Testing Requirements.

V.	Whole Effluent Toxicity Testing Requirements

This section includes detailed whole effluent toxicity (WET) testing requirements, including test species, effect, test duration, and test method.  The requirement to conduct WET testing at a specific monitoring location must be listed under section IV, Effluent Monitoring Requirements, above. This section must include details on how to conduct acute and chronic toxicity tests and may include the following:

•	Acute Toxicity Testing Requirements

•	Chronic Toxicity Testing Requirements

•	Quality Assurance

•	Accelerated Monitoring Requirements

•	Steps in the TIE/TRE Process

VI.	Land Discharge Monitoring Requirements

This section includes monitoring requirements for discharges to land.  For discharges to ponds, freeboard monitoring, observation of algae, and other monitoring of the pond itself should be included in section IX, Other Monitoring Requirements.  Monitoring Locations should be listed in section II, above.  Monitoring requirements must be included for each parameter listed in the Land Discharge Specifications section of the Order.  This section, at a minimum, also includes any monitoring requirements for a parameter, in which no land discharge specifications are established.

A permit writer may elect to combine the requirements for more than one Monitoring Location into a single table if the requirements for those Monitoring Locations are EXACTLY THE SAME, otherwise separate tables for each location are required.

A.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <description of monitored discharge> at <Monitoring Location Name> as follows:

Table 5a.  Land Discharge Monitoring Requirements - 1

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

B.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <description of monitored discharge> at <Monitoring Location Name> as follows:

Table 5b.  Land Discharge Monitoring Requirements - 2

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

VII.	Reclamation Monitoring Requirements

This section includes monitoring requirements for reclamation discharge.  Monitoring Locations should be listed in section II, above.  Monitoring requirements must be included, at a minimum, for each parameter listed in the Reclamation Discharge Specifications section of the Order.  This section also includes monitoring requirements for a parameter in which no reclamation specifications are established.

A permit writer may elect to combine the requirements for more than one Monitoring Location into a single table if the requirements for those Monitoring Locations are EXACTLY THE SAME, otherwise separate tables for each location are required.

A.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <description of monitored discharge> at <Monitoring Location Name> as follows:

Table 6a.  Reclamation Monitoring Requirements - 1

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

B.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <description of monitored discharge> at <Monitoring Location Name> as follows:

Table 6b.  Reclamation Monitoring Requirements - 2

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

VIII.	 Receiving Water Monitoring Requirements – Surface Water and Groundwater

This section includes receiving water monitoring requirements for both surface water and ground water if applicable.  Monitoring locations must be listed in section II, above.

A permit writer may elect to combine the requirements for more than one Monitoring Location into a single table if the requirements for those Monitoring Locations are EXACTLY THE SAME, otherwise separate tables for each location are required.

A.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <Receiving Water> at <Monitoring Location Name> as follows:

Table 7a.  Receiving Water Monitoring Requirements - 1

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

B.	Monitoring Location <Monitoring Location Name>

1.	The Discharger shall monitor <Receiving Water> at <Monitoring Location Name> as follows:

Table 7b.  Receiving Water Monitoring Requirements - 2

| Parameter | Units | Sample Type | Minimum Sampling Frequency | Required Analytical Test Method |
| --- | --- | --- | --- | --- |

Continue with additional subsections and tables as needed for other monitoring types.

IX.	Other Monitoring Requirements

This section includes other (e.g., non-effluent, Ocean Plan Table B pollutant scan) monitoring requirements. The monitoring location(s) should be listed under section II, above.  Titles for grouping “REGIONAL MONITORING” or “SPECIAL STUDIES” can be inserted where appropriate.  The monitoring types below serve as examples only.  Specify the sampling parameters, monitoring frequencies, locations, and analytical test methods to be used:

- Water Supply Monitoring

- Pretreatment Monitoring (POTWs Only)

- Biosolids/Sludge Monitoring

- Storm Water Monitoring

- Treatment Pond/Lagoon Monitoring

- Thermal Monitoring

- Dioxin Monitoring

- Regional Monitoring Program Monitoring

- Discharge Observations

- Ocean Plan Table B Pollutant Scans

X.	Reporting Requirements

This section includes the dates and procedures for all the reporting requirements.

A.	General Monitoring and Reporting Requirements

1.	The Discharger shall comply with all Standard Provisions (Attachment D) related to monitoring, reporting, and recordkeeping.

2.	Etc.

B.	Self Monitoring Reports (SMRs)

1.	At any time during the term of this permit, the State or Regional Water Board may notify the Discharger to electronically submit Self-Monitoring Reports (SMRs) using the State Water Board’s California Integrated Water Quality System (CIWQS) Program Web site (http://www.waterboards.ca.gov/ciwqs/index.html).  Until such notification is given, the Discharger shall submit hard copy SMRs.  The CIWQS Web site will provide additional directions for SMR submittal in the event there will be service interruption for electronic submittal.

2.	The Discharger shall report in the SMR the results for all monitoring specified in this MRP under sections III through IX.  The Discharger shall submit <monthly, quarterly, semiannual, annual> SMRs including the results of all required monitoring using USEPA-approved test methods or other test methods specified in this Order.  If the Discharger monitors any pollutant more frequently than required by this Order, the results of this monitoring shall be included in the calculations and reporting of the data submitted in the SMR.

3.	Monitoring periods and reporting for all required monitoring shall be completed according to the following schedule:

Table 8.  Monitoring Periods and Reporting Schedule

| Sampling Frequency | Monitoring Period Begins On… | Monitoring Period | SMR Due Date |
| --- | --- | --- | --- |
| Continuous | <Permit effective date> | All | Submit with <e.g., monthly> SMR |
| Hourly | <Permit effective date> | Hourly | Submit with <e.g., monthly> SMR |
| Daily | <Permit effective date> | (Midnight through 11:59 PM) or any 24-hour period that reasonably represents a calendar day for purposes of sampling. | Submit with <e.g., monthly> SMR |
| Weekly | <Sunday following permit effective date or on permit effective date if on a Sunday> | Sunday through Saturday | Submit with <e.g., monthly> SMR |
| Monthly | <First day of calendar month following permit effective date or on permit effective date if that date is first day of the month> | 1st day of calendar month through last day of calendar month | <##> days from the end of the monitoring period <or, e.g., Submit with quarterly SMR> |
| Quarterly | <Closest of January 1, April 1, July 1, or October 1 following (or on) permit effective date> | January 1 through March 31 April 1 through June 30 July 1 through September 30 October 1 through December 31 | <##> days from the end of the monitoring period |
| Semiannually | <Closest of January 1 or July 1 following (or on) permit effective date> | January 1 through June 30 July 1 through December 31 | <##> days from the end of the monitoring period |
| Annually | <January 1 following (or on) permit effective date> | January 1 through December 31 | <##> days from the end of the monitoring period |
| <X> / <X> years | <Specified by permit writer> | <Specified by permit writer> | <Specified by permit writer> |
| <X> / Discharge Event | <Specified by permit writer> | <Specified by permit writer> | <##> days from the end of the monitoring period |

Note: Include only the rows from the table above based on the various sampling frequencies required in the permit. The permit writer can specify alternative monitoring period start dates, where desired. The permit writer must specify reporting due dates for sampling required less than 1 / year. The due dates included for all other monitoring frequencies assume monthly SMR submittal.

The reporting protocols below reference “applicable” MLs.  The MRP should clearly indicate for various types of monitoring (e.g., effluent, priority pollutant scans) where MLs are applicable.

4.	Reporting Protocols.  The Discharger shall report with each sample result the applicable reported Minimum Level (ML) and the current Method Detection Limit (MDL), as determined by the procedure in Part 136.

The Discharger shall report the results of analytical determinations for the presence of chemical constituents in a sample using the following reporting protocols:

- Sample results greater than or equal to the reported ML shall be reported as measured by the laboratory (i.e., the measured chemical concentration in the sample).

- Sample results less than the reported ML, but greater than or equal to the laboratory’s MDL, shall be reported as “Detected, but Not Quantified,” or DNQ.  The estimated chemical concentration of the sample shall also be reported.

For the purposes of data collection, the laboratory shall write the estimated chemical concentration next to DNQ as well as the words “Estimated Concentration” (may be shortened to “Est. Conc.”).  The laboratory may, if such information is available, include numerical estimates of the data quality for the reported result.  Numerical estimates of data quality may be percent accuracy (+ a percentage of the reported value), numerical ranges (low to high), or any other means considered appropriate by the laboratory.

c.	Sample results less than the laboratory’s MDL shall be reported as “Not Detected,” or ND.

d.	Dischargers are to instruct laboratories to establish calibration standards so that the ML value (or its equivalent if there is differential treatment of samples relative to calibration standards) is the lowest calibration standard.  At no time is the Discharger to use analytical data derived from extrapolation beyond the lowest point of the calibration curve.

5.	The Discharger shall submit SMRs in accordance with the following requirements:

a.	The Discharger shall arrange all reported data in a tabular format.  The data shall be summarized to clearly illustrate whether the facility is operating in compliance with interim and/or final effluent limitations.  The Discharger is not required to duplicate the submittal of data that is entered in a tabular format within CIWQS.  When electronic submittal of data is required and CIWQS does not provide for entry into a tabular format within the system, the Discharger shall electronically submit the data in a tabular format as an attachment.

b.	The Discharger shall attach a cover letter to the SMR.  The information contained in the cover letter shall clearly identify violations of the WDRs; discuss corrective actions taken or planned; and the proposed time schedule for corrective actions.  Identified violations must include a description of the requirement that was violated and a description of the violation.

- SMRs must be submitted to the Regional Water Board, signed and certified as required by the Standard Provisions (Attachment D), to the address listed below:

<INSERT REGIONAL WATER BOARD ADDRESS>

C.	Discharge Monitoring Reports (DMRs)

Note: This subsection applies to major dischargers that are required to submit discharge monitoring reports, in addition to self-monitoring reports.

1.	As described in Section X.B.1 above, at any time during the term of this permit, the State or Regional Water Board may notify the Discharger to electronically submit SMRs that will satisfy federal requirements for submittal of Discharge Monitoring Reports (DMRs).  Until such notification is given, the Discharger shall submit DMRs in accordance with the requirements described below.

2.	DMRs must be signed and certified as required by the standard provisions (Attachment D). The Discharge shall submit the original DMR and one copy of the DMR to the address listed below:

State Water Resources Control Board

Discharge Monitoring Report Processing Center

Post Office Box 671

Sacramento, CA 95812

3.	All discharge monitoring results must be reported on the official USEPA pre-printed DMR forms (EPA Form 3320-1).  Forms that are self-generated or modified cannot be accepted.

- Other Reports

Note: Include any other reporting requirements for the Discharger in this subsection.  For example, this subsection could be used to direct the Discharger how to submit the results of special studies, TIE/TREs, PMPs, Pollution Prevention Plans, or satisfaction of compliance schedule milestone dates.  Example language follows.

1.	The Discharger shall report the results of any <special studies, acute and chronic toxicity testing, TRE/TIE, PMP, and Pollution Prevention Plan> required by Special Provisions – VI.C.<list> of this Order.  The Discharger shall report the progress in satisfaction of compliance schedule dates specified in Special Provisions – VI.C.7 of this Order.  The Discharger shall submit reports <with the first monthly SMR scheduled to be submitted on or immediately following the report due date> <in compliance with SMR reporting requirements described in subsection X.B.5 above>.

ATTACHMENT F – FACT SHEET

Table of Contents

Attachment F – Fact Sheet	F-6

I.	Permit Information	F-6

II.	Facility Description	F-6

A.	Description of Wastewater and Biosolids Treatment or Controls	F-6

B.	Discharge Points and Receiving Waters	F-6

C.	Summary of Existing Requirements and Self-Monitoring Report (SMR) Data	F-6

D.	Compliance Summary	F-6

E.	Planned Changes	F-6

A.	Legal Authorities	F-6

B.	California Environmental Quality Act (CEQA)	F-6

C.	State and Federal Regulations, Policies, and Plans	F-6

D.	Impaired Water Bodies on CWA 303(d) List	F-6

E.	Other Plans, Polices and Regulations	F-6

IV.	Rationale For Effluent Limitations and Discharge Specifications	F-6

A.	Discharge Prohibitions	F-6

B.	Technology-Based Effluent Limitations	F-6

1.	Scope and Authority	F-6

2.	Applicable Technology-Based Effluent Limitations	F-6

C.	Water Quality-Based Effluent Limitations (WQBELs)	F-6

1.	Scope and Authority	F-6

3.	Determining the Need for WQBELs	F-6

4.	WQBEL Calculations	F-6

5.	Whole Effluent Toxicity (WET)	F-6

D.	Final Effluent Limitations	F-6

E.	Interim Effluent Limitations	F-6

F.	Land Discharge Specifications	F-6

G.	Reclamation Specifications	F-6

V.	Rationale for Receiving Water Limitations	F-6

A.	Surface Water	F-6

B.	Groundwater	F-6

VI.	Rationale for Monitoring and Reporting Requirements	F-6

A.	Influent Monitoring	F-6

B.	Effluent Monitoring	F-6

C.	Whole Effluent Toxicity Testing Requirements	F-6

D.	Receiving Water Monitoring	F-6

1.	Surface Water	F-6

2.	Groundwater	F-6

E.	Other Monitoring Requirements	F-6

VII.	Rationale for Provisions	F-6

A.	Standard Provisions	F-6

B.	Special Provisions	F-6

1.	Reopener Provisions	F-6

2.	Special Studies and Additional Monitoring Requirements	F-6

3.	Best Management Practices and Pollution Prevention	F-6

4.	Construction, Operation, and Maintenance Specifications	F-6

5.	Special Provisions for Municipal Facilities (POTWs Only)	F-6

6.	Other Special Provisions	F-6

7.	Compliance Schedules	F-6

VIII.	Public Participation	F-6

A.	Notification of Interested Parties	F-6

B.	Written Comments	F-6

C.	Public Hearing	F-6

D.	Waste Discharge Requirements Petitions	F-6

E.	Information and Copying	F-6

F.	Register of Interested Persons	F-6

G.	Additional Information	F-6

List of Tables

Table 1. Facility Information	F-6

Table 2. Historic Effluent Limitations and Monitoring Data	F-6

Table 3.  Basin Plan Beneficial Uses	F-6

Table 4.  Ocean Plan Beneficial Uses	F-6

Table 5.  Summary of Technology-based Effluent Limitations	F-6

Table 6.  Summary of Water Quality-based Effluent Limitations	F-6

Table 7.  Summary of Final Effluent Limitations	F-6

Attachment F – Fact Sheet

As described in section II of this Order, this Fact Sheet includes the legal requirements and technical rationale that serve as the basis for the requirements of this Order.

This Order has been prepared under a standardized format to accommodate a broad range of discharge requirements for Dischargers in California.  Only those sections or subsections of this Order that are specifically identified as “not applicable” have been determined not to apply to this Discharger.  Sections or subsections of this Order not specifically identified as “not applicable” are fully applicable to this Discharger.

I.	Permit Information

The following table summarizes administrative information related to the facility.

Table 1. Facility Information

| WDID |  |
| --- | --- |
| Discharger | <Site Owner/Operator/Property Owner> |
| Name of Facility | <Facility name, Facility City> |
| Facility Address | <Facility Street Address> |
|  | <Facility City, State Zip> |
|  | <Facility County Name> |
| Facility Contact, Title and Phone | <Facility Contact Name>, <Title>, <Facility Contact Phone> |
| Authorized Person to Sign and Submit Reports | <Name>, <Title>, <Phone> |
| Mailing Address | <SAME> or <Facility Mailing Street Address> <Facility Mailing City, State Zip> |
| Billing Address | <SAME> or <Facility Billing Street Address> <Facility Billing City, State Zip> |
| Type of Facility | <Facility Type> (i.e., POTW, Industrial with SIC code, CAFO) |
| Major or Minor Facility | <Major/Minor> |
| Threat to Water Quality |  |
| Complexity |  |
| Pretreatment Program | Y/N |
| Reclamation Requirements | <Producer/User> |
| Facility Permitted Flow | <Facility Permitted Flow (in million gallons per day)> |
| Facility Design Flow | <Facility Design Flow (in million gallons per day)> |
| Watershed |  |
| Receiving Water | Pacific Ocean |
| Receiving Water Type | Ocean waters <add if applicable: enclosed bay, estuary, or inland surface water> |

A.	<Site Owner/Operator> (hereinafter Discharger) is the <owner and operator OR operator> of <Name of Facility> (hereinafter Facility), a <Type of Facility>. [ALTERNATIVE: <Site Owner/Operator> is the <owner and operator OR operator> of <Name of Facility>, a <Type of Facility>. <Property Owner> owns the property at <Property Address> on which the Facility is located. Together <Site Owner/Operator> and <Property Owner> are hereinafter referred to as Discharger.]

For the purposes of this Order, references to the “discharger” or “permittee” in applicable federal and state laws, regulations, plans, or policy are held to be equivalent to references to the Discharger herein.

B.	The Facility discharges wastewater to the Pacific Ocean, a water of the United States, and is currently regulated by Order <Existing Order Number> which was adopted on <Existing Order Adoption Date> and < expired/expires> on <Existing Order Expiration Date>. [USE IF PERMIT HAS ALREADY EXPIRED: The terms and conditions of the current Order have been automatically continued and remain in effect until new Waste Discharge Requirements and NPDES permit are adopted pursuant to this Order.]

C.	The Discharger filed a report of waste discharge and submitted an application for renewal of its Waste Discharge Requirements (WDRs) and National Pollutant Discharge Elimination System (NPDES) permit on <Application Date>. [Use the following sentences as necessary: Supplemental information was requested on <Supplement 1 Request Date> and received on <Supplement 1 Receipt Date>.  A site visit was conducted on <Site Visit Date>, to observe operations and collect additional data to develop permit limitations and conditions.]

II.	Facility Description

The introduction to this section should include a description of the permitted facility, the types of operations that generate wastewater, and the types of wastewater discharges to be regulated under the Order.

A.	Description of Wastewater and Biosolids Treatment or Controls

This subsection includes a description of the wastewater treatment or control system and may contain the following information:

- Design characteristics.

- Treatment capacity.

- Actual flows (e.g., maximum wet weather; average dry weather).

- Description of biosolids/sludge handling practices (if applicable).

B.	Discharge Points and Receiving Waters

This subsection includes a description of the existing and any planned discharge point(s) and the receiving water(s) and should include the following information:

- Discharge Point number(s) with latitude and longitude.

- Description of the receiving water and hydrologic area.

- Watershed Management Area.

C.	Summary of Existing Requirements and Self-Monitoring Report (SMR) Data

This subsection includes a summary of existing effluent limitations and discharge specifications from the previous Order and Self-Monitoring Report (SMR) data collected during the term of the previous Order, including additional studies required in the previous Order, if applicable.  The table below serves as an example and would be repeated for each Monitoring Location where effluent limitations or discharge specifications apply.  Note that the table may need to be adjusted to accommodate existing effluent limitations bases (e.g., 30-day average).

<Effluent limitations/Discharge Specifications> contained in the existing Order for discharges from <Describe Discharge Point> (Monitoring Location <Monitoring Location Number>) and representative monitoring data from the term of the previous Order are as follows:

Table 2. Historic Effluent Limitations and Monitoring Data

| Parameter | Units | Effluent Limitation |  |  | Monitoring Data (From <Date> – To <Date>) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Highest Average Monthly Discharge | Highest Average Weekly Discharge | Highest Daily Discharge |

D.	Compliance Summary

This section summarizes the Discharger’s compliance with the Order during the last Order term and may include the following:

- Effluent limit exceedances.

- Other notable Order violations (e.g., failure to submit monitoring reports).

- Violations identified as part of compliance evaluation inspections.

E.	Planned Changes

This section includes any planned changes to the facility during the next Order term that may impact Order development, such as:

- Facility expansion.

- Increased production.

- Product changes.

- Modifications to the wastewater treatment plant

- Other changes to current operations that may impact Order development.

III.	Applicable Plans, Policies, and Regulations

This section includes the plans and policies applicable to developing this Order that are not included in section II of the Order (Findings) and that supplement those findings contained in section II of the Order.  The following provides example language only and does not represent preferred Order language.

The requirements contained in the proposed Order are based on the requirements and authorities described in this section.

A.	Legal Authorities

This Order is issued pursuant to section 402 of the federal Clean Water Act (CWA) and implementing regulations adopted by the U.S. Environmental Protection Agency (USEPA) and chapter 5.5, division 7 of the California Water Code (commencing with section 13370).  It shall serve as a NPDES permit for point source discharges from this facility to surface waters.  This Order also serves as Waste Discharge Requirements (WDRs) pursuant to article 4, chapter 4, division 7 of the Water Code (commencing with section 13260).

B.	California Environmental Quality Act (CEQA)

Under Water Code section 13389, this action to adopt an NPDES permit is exempt from the provisions of CEQA, Public Resources Code sections 21100- through 21177.

New Sources:  If the facility is a new source as defined by the CWA then the requirements of CEQA must be met (Water Code § 13389) and the above language must be revised to indicate that CEQA requirements have been met.

For Discharges not regulated under an NPDES permit:  Refer to sample language requirements within APM Chapter 9, item 2, for various discharge conditions.

C.	State and Federal Regulations, Policies, and Plans

1.   Water Quality Control Plans.  The Regional Water Quality Control Board (Regional Water Board) adopted a Water Quality Control Plan for the <Basin Name> (hereinafter Basin Plan) on <date> that designates beneficial uses, establishes water quality objectives, and contains implementation programs and policies to achieve those objectives for the Pacific Ocean <and other Receiving Waters addressed through the plan>.  <If applicable for other waters: In addition, the Basin Plan implements State Water Resources Control Board (State Water Board) Resolution No. 88-63, which established state policy that all waters, with certain exceptions, should be considered suitable or potentially suitable for municipal or domestic supply.>  <Provide rationale if such an exception applies.>

Modify the paragraph above as appropriate for applicability of the Basin Plan if the facility also discharges to receiving waters other than the Pacific Ocean.  Reference the applicability of Resolution No. 88-63 if necessary to assign municipal and domestic supply use to water bodies that do not have beneficial uses listed in the Basin Plan.

Beneficial uses applicable to the Pacific Ocean <and other Receiving Water(s)> are as follows:

Table 3.  Basin Plan Beneficial Uses

| Discharge Point | Receiving Water Name | Beneficial Use(s) |
| --- | --- | --- |
| 001 | Pacific Ocean | <Beneficial Usesfor the Pacific Ocean from the Basin Plan:> |
| 002 | <Receiving water name> | <Beneficial Uses; Examples follow if uses have been qualified under their designation; modify as applicable> Existing: Warm freshwater habitat (WARM); wildlife habitat (WILD), preservation or rare, threatened or endangered species (RARE). Intermittent: Ground water recharge (GWR), freshwater replenishment (FRESH), contact (REC-1) and non-contact (REC-2) water recreation. Potential: Municipal and domestic water supply (MUN).> |

Requirements of this Order implement the Basin Plan.

Note: Include the following paragraph for discharges of thermal waste or elevated temperature waste (defined in the Thermal Plan) to cold and warm interstate and international waters, coastal waters outside of enclosed bays and estuaries but within California territorial limits, enclosed bays, estuaries, and coastal lagoons.  Other types of discharges to these waters may require “limitations or additional limitations” defined in the Thermal Plan.  Do not include the paragraph if the Thermal Plan does not apply (renumber paragraphs accordingly).  The reference to inland surface waters is not needed if there are no applicable requirements.

2.	Thermal Plan.  The State Water Board adopted a Water Quality Control Plan for Control of Temperature in the Coastal and Interstate Water and Enclosed Bays and Estuaries of California (Thermal Plan) on May 18, 1972, and amended this plan on September 18, 1975. This plan contains temperature objectives for coastal <and inland surface> waters. <Describe applicability of Thermal Plan requirements to the discharge.  For example, describe if the discharge is a thermal waste, elevated temperature waste, or other; the type of receiving water in reference to Thermal Plan definitions; and if the discharge is existing or new.  Further note the objectives/requirements that apply from the Thermal Plan.>  Requirements of this Order implement the Thermal Plan.

3.  California Ocean Plan.  The State Water Board adopted the Water Quality Control Plan for Ocean Waters of California, California Ocean Plan (Ocean Plan) in 1972 and amended it in 1978, 1983, 1988, 1990, 1997, 2000, and 2005.  The State Water Board adopted the latest amendment on April 21. 2005 and it became effective on February 14, 2006.  The Ocean Plan is applicable, in its entirety, to point source discharges to the ocean.  The Ocean Plan identifies beneficial uses of ocean waters of the State to be protected as summarized below:

Table 4.  Ocean Plan Beneficial Uses

| Discharge Point | Receiving Water | Beneficial Uses |
| --- | --- | --- |
| Outfall 001 | Pacific Ocean | Industrial water supply; water contact and non-contact recreation, including aesthetic enjoyment; navigation; commercial and sport fishing; mariculture; preservation and enhancement of designated Areas of Special Biological Significance (ASBS); rare and endangered species; marine habitat; fish spawning and shellfish harvesting |

In order to protect the beneficial uses, the Ocean Plan establishes water quality objectives and a program of implementation.  Requirements of this Order implement the Ocean Plan.

If the Order provides for a discharge to non-ocean surface water, import fact sheet language from the SIP/CTR template version, subsections III.C.3 (NTR and CTR) and III.C.4 (SIP), and renumber the following subsections as appropriate.  Rationale for any compliance schedules is to be further discussed in subsection VII.B.7.

4.	Alaska Rule.  On March 30, 2000, USEPA revised its regulation that specifies when new and revised state and tribal water quality standards (WQS) become effective for CWA purposes (40 CFR § 131.21, 65 Fed. Reg. 24641 (April 27, 2000)).  Under the revised regulation (also known as the Alaska rule), new and revised standards submitted to USEPA after May 30, 2000, must be approved by USEPA before being used for CWA purposes.  The final rule also provides that standards already in effect and submitted to USEPA by May 30, 2000, may be used for CWA purposes, whether or not approved by USEPA.

5.	Antidegradation Policy.  Section 131.12 requires that the state water quality standards include an antidegradation policy consistent with the federal policy.  The State Water Board established California’s antidegradation policy in State Water Board Resolution No. 68-16.  Resolution No. 68-16 incorporates the federal antidegradation policy where the federal policy applies under federal law.  Resolution No. 68-16 requires that existing water quality be maintained unless degradation is justified based on specific findings.  The Regional Water Board’s Basin Plan implements, and incorporates by reference, both the state and federal antidegradation policies.  The permitted discharge is consistent with the antidegradation provision of section 131.12 and State Water Board Resolution No. 68-16.

6.	Anti-Backsliding Requirements.  Sections 402(o)(2) and 303(d)(4) of the CWA and federal regulations at title 40, Code of Federal Regulations, section 122.44(l) prohibit backsliding in NPDES permits.  These anti-backsliding provisions require that effluent limitations in a reissued permit must be as stringent as those in the previous permit, with some exceptions in which limitations may be relaxed.

D.	Impaired Water Bodies on CWA 303(d) List

This subsection discusses the impaired status of the receiving waters for each of the discharges regulated under the Order.  If impaired, then this section must describe the status of TMDL development, schedule, and the impact on the Order.

E.	Other Plans, Polices and Regulations

IV.	Rationale For Effluent Limitations and Discharge Specifications

This section includes the rationale for the effluent limitations that will be included in the Order, including evaluation of pollutants of concern, calculation of technology- and water quality-based effluent limitations, specific rationale for each numeric limitation and discussion of any changes to the final limitations.  The example language that follows is not intended to represent preferred Order language, but is provided as an example only.

The CWA requires point source dischargers to control the amount of conventional, non-conventional, and toxic pollutants that are discharged into the waters of the United States.  The control of pollutants discharged is established through effluent limitations and other requirements in NPDES permits.  There are two principal bases for effluent limitations in the Code of Federal Regulations: section 122.44(a) requires that permits include applicable technology-based limitations and standards; and section 122.44(d) requires that permits include water quality-based effluent limitations to attain and maintain applicable numeric and narrative water quality criteria to protect the beneficial uses of the receiving water.

A.	Discharge Prohibitions

This subsection includes the rationale for discharge prohibitions.

B.	Technology-Based Effluent Limitations

This subsection includes the rationale for technology-based effluent limitations.

1.	Scope and Authority

This subsection provides a brief description of the statutory and regulatory requirements for establishing technology-based effluent limitations.

Section 301(b) of the CWA and implementing USEPA permit regulations at section 122.44, title 40 of the Code of Federal Regulations require that permits include conditions meeting applicable technology-based requirements at a minimum, and any more stringent effluent limitations necessary to meet applicable water quality standards.  The discharge authorized by this Order must meet minimum federal technology-based requirements based on <Secondary Treatment Standards at Part 133> or <Effluent Limitations Guidelines and Standards for the XXXX Category in Part 4XX> and/or < Best Professional Judgment (BPJ) in accordance with Part 125, section 125.3>.

The following example language for non-municipal discharges is based on the Los Angeles Regional Water Board permit template.

The CWA requires that technology-based effluent limitations be established based on several levels of controls:

- Best practicable treatment control technology (BPT) represents the average of the best performance by plants within an industrial category or subcategory.  BPT standards apply to toxic, conventional, and non-conventional pollutants.

- Best available technology economically achievable (BAT) represents the best existing performance of treatment technologies that are economically achievable within an industrial point source category.  BAT standards apply to toxic and non-conventional pollutants.

- Best conventional pollutant control technology (BCT) represents the control from existing industrial point sources of conventional pollutants including BOD, TSS, fecal coliform, pH, and oil and grease.  The BCT standard is established after considering the “cost reasonableness” of the relationship between the cost of attaining a reduction in effluent discharge and the benefits that would result, and also the cost effectiveness of additional industrial treatment beyond BPT.

- New source performance standards (NSPS) represent the best available demonstrated control technology standards.  The intent of NSPS guidelines is to set limitations that represent state-of-the-art treatment technology for new sources.

The CWA requires USEPA to develop effluent limitations, guidelines and standards (ELGs) representing application of BPT, BAT, BCT, and NSPS.  Section 402(a)(1) of the CWA and section 125.3 of the Code of Federal Regulations authorize the use of best professional judgment (BPJ) to derive technology-based effluent limitations on a case-by-case basis where ELGs are not available for certain industrial categories and/or pollutants of concern. Where BPJ is used, the permit writer must consider specific factors outlined in section 125.3.

The following example language for applying secondary treatment standards to discharges from POTWs is based on the Colorado River Regional Water Board permit template.

Regulations promulgated in section 125.3(a)(1) require technology-based effluent limitations for municipal Dischargers to be placed in NPDES permits based on Secondary Treatment Standards or Equivalent to Secondary Treatment Standards.

The Federal Water Pollution Control Act Amendments of 1972 (PL 92-500) established the minimum performance requirements for POTWs [defined in section 304(d)(1)].  Section 301(b)(1)(B) of that Act requires that such treatment works must, as a minimum, meet effluent limitations based on secondary treatment as defined by the USEPA Administrator.

Based on this statutory requirement, USEPA developed secondary treatment regulations, which are specified in Part 133.  These technology-based regulations apply to all municipal wastewater treatment plants and identify the minimum level of effluent quality attainable by secondary treatment in terms of biochemical oxygen demand (BOD5), total suspended solids (TSS), and pH.

The following example language for applying equivalent to secondary treatment standards to discharges from POTWs is based on the Regional Water Board 7 permit template.

Following publication of the secondary treatment regulations, legislative history indicates that Congress was concerned that USEPA had not “sanctioned” the use of certain biological treatment techniques that were effective in achieving significant reductions in BOD5 and TSS for secondary treatment.  Therefore to prevent unnecessary construction of costly new facilities, Congress included language in the 1981 amendment to the Construction Grants statues [Section 23 of Pub. L. 97-147] that required USEPA to provide allowance for alternative biological treatment technologies such as trickling filters or waste stabilization ponds.  In response to this requirement, definition of secondary treatment was modified on September 20, 1984 and June 3, 1985, and published in the revised secondary treatment regulations contained in section 133.105.  These regulations allow alternative limitations for facilities using trickling filters and waste stabilization ponds that meet the requirements for “equivalent to secondary treatment.”  These “equivalent to secondary treatment” limitations are up to 45 mg/L (monthly average) and up to 65 mg/L (weekly average) for BOD5 and TSS.

Therefore, POTWs that use waste stabilization ponds, identified in section 133.103, as the principal process for secondary treatment and whose operation and maintenance data indicate that the TSS values specified in the equivalent-to-secondary regulations cannot be achieved, can qualify to have their minimum levels of effluent quality for TSS adjusted upwards.

Furthermore, in order to address the variations in facility performance due to geographic, climatic, or seasonal conditions in different States, the Alternative State Requirements (ASR) provision contained in section 133.105(d) was written.  ASR allows States the flexibility to set permit limitations above the maximum levels of 45 mg/L (monthly average) and 65 mg/L (weekly average) for TSS from lagoons.  However, before ASR limitations for suspended solids can be set, the effluent must meet the BOD limitations as prescribed by section 133.102(a).  Presently, the maximum TSS value set by the State of California for lagoon effluent is 95 mg/L.  This value corresponds to a 30-day consecutive average or an average over duration of less than 30 days.

In order to be eligible for equivalent-to-secondary limitations, a POTW must meet all of the following criteria:

- The principal treatment process must be either a trickling filter or waste stabilization pond.

- The effluent quality consistently achieved, despite proper operations and maintenance, is in excess of 30 mg/L BOD5 and TSS.

- Water quality is not adversely affected by the discharge.  (40 C.F.R. § 133.101(g).)

The treatment works as a whole provides significant biological treatment such that a minimum 65 percent reduction of BOD5 is consistently attained (30-day average).

2.	Applicable Technology-Based Effluent Limitations

For non-municipal discharges, this subsection describes the applicable National Effluent Limitations Guidelines and Standards for the discharge.  This subsection provides all applicable data (e.g., flow, production, etc.) and calculations needed to apply the effluent guidelines.  If applicable, this section would also describe the methodology and results of establishing technology-based effluent limitations on a case-by-case basis using best professional judgment (BPJ).  If limitations are established using BPJ, this section must discuss the factors specified in section 125.3 for developing case-by-case limitations.

For municipal discharges (POTWs), this subsection would describe how limitations were calculated based on Secondary Treatment Standards or Equivalent to Secondary Requirements. This subsection must include a discussion / summary for each Discharge Point where effluent limitations apply.

Once the rationale has been provided in this subsection, then the applicable technology-based effluent limitations should be summarized in a table similar to that shown below (which is for non-ocean Discharges from POTWs).  Note that a table(s) for each Discharge Point should be prepared.  Also note that the table may need to be adjusted to accommodate the limit bases applicable to the facility.

In accordance with section 122.45(d), there may be instances in which the basis for a limit for a particular continuous discharge may be impracticable to be stated as a maximum daily, average weekly, or average monthly effluent limitation per this regulation.  Rationale must be provided for instances when it is impracticable to express the technology-based effluent limitations for a POTW as an average weekly and an average monthly or, for a non-POTW, as a maximum daily and an average monthly if the limitations are expressed in other terms.  Where the implementation basis of a limitation is clearly dictated by an effective water quality control plan or statewide policy, it should be adequate to reference the source for the limitation.

The table below shows for clerical reasons how mass limitations should be shown when applicable.

Summary of Technology-based Effluent Limitations

Discharge Point <Discharge Point Name>

Table 5.  Summary of Technology-based Effluent Limitations

| Parameter | Units | Effluent Limitations |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Instantaneous Minimum | Instantaneous Maximum |
| <Parameter Name> | <concentration> |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |

C.	Water Quality-Based Effluent Limitations (WQBELs)

1.	Scope and Authority

This subsection briefly describes the statutory and regulatory requirements for establishing water quality-based effluent limitations.

Section 301(b) of the CWA and section 122.44(d) require that permits include limitations more stringent than applicable federal technology-based requirements where necessary to achieve applicable water quality standards.  <This Order contains requirements, expressed as a technology equivalence requirement, more stringent than secondary treatment requirements that are necessary to meet applicable water quality standards.  The rationale for these requirements, which consist of <tertiary treatment or equivalent requirements or other provisions>, is discussed in <reference where discussed in the Fact Sheet>.>

Section 122.44(d)(1)(i) mandates that permits include effluent limitations for all pollutants that are or may be discharged at levels that have the reasonable potential to cause or contribute to an exceedance of a water quality standard, including numeric and narrative objectives within a standard.  Where reasonable potential has been established for a pollutant, but there is no numeric criterion or objective for the pollutant, water quality-based effluent limitations (WQBELs) must be established using:  (1) USEPA criteria guidance under CWA section 304(a), supplemented where necessary by other relevant information; (2) an indicator parameter for the pollutant of concern; or (3) a calculated numeric water quality criterion, such as a proposed state criterion or policy interpreting the state’s narrative criterion, supplemented with other relevant information, as provided in section 122.44(d)(1)(vi).

The process for determining reasonable potential and calculating WQBELs when necessary is intended to protect the designated uses of the receiving water as specified in the Basin Plan, and achieve applicable water quality objectives and criteria that are contained in other state plans and policies, or any applicable water quality criteria contained in the Ocean Plan <and if applicable: CTR and NTR>.

2.	Applicable Beneficial Uses and Water Quality Criteria and Objectives

This subsection describes the water quality criteria applicable to the discharge(s) regulated under the Order based on the applicable beneficial uses described in Section III.  This subsection also describes any applicable site-specific objectives, and any other related data or information necessary for application of the water quality criteria (e.g., hardness for metals).

- Beneficial uses (refer back to Section III).

- Numeric criteria and objectives (including any site-specific objectives).

- Narrative objectives.

- Available dilution or mixing zone(s).

- Hardness, temperature, pH, etc.

- Translators for metals.

- Ocean plan Table A effluent limitations and Table B water quality objectives.

3.	Determining the Need for WQBELs

This subsection describes the methodology used to perform a reasonable potential analysis (RPA) for priority pollutants and non-priority pollutants for non-ocean discharges or, if applicable, the methodology used for ocean discharges.

The subsection also describes the data and information used to complete the RPA.  Insert additional tables summarizing the RPA for each Discharge Point, where applicable.

The following two paragraphs are example language for when a WQBEL is required to comply with an applicable TMDL WLA, thus rendering no need for a reasonable potential analysis for the pollutant.

The Regional Water Board developed WQBELs for <name pollutant(s)> that have available wasteload allocations under a Total Maximum Daily Loads (TMDL) <describe adoption and effective dates>.  The effluent limitations for these pollutants were established regardless of whether or not there is reasonable potential for the pollutants to be present in the discharge at levels that would cause or contribute to a violation of water quality standards.  The Regional Water Board developed water quality-based effluent limitations for these pollutants pursuant to section 122.44(d)(1)(vii), which does not require or contemplate a reasonable potential analysis.  Similarly, the SIP at Section 1.3 recognizes that reasonable potential analysis is not appropriate if a TMDL has been developed.

This Order contains a WQBEL for <e.g., copper>.  The <e.g., copper> limitation was established based on the available wasteload allocation of <describe the allocation, e.g., x ppb> for the facility contained in the <name the TMDL>.   <Describe any other relevant calculations that are necessary for permitting requirements (e.g., translation from dissolved to total metals for end-of-pipe limitations.)>  As required by section 122.44(d)(1)(vii), the Regional Water Board shall ensure there is a WQBEL for <e.g., copper> in the WDRs that is consistent with the assumptions and requirements of the available wasteload allocation.  Based on the water quality monitoring done at the time of the TMDL adoption, which set the wasteload allocation at the level necessary to attain water quality standards, the Regional Water Board has determined that the WQBEL is consistent with the assumptions of the TMDL.  Similarly, compliance with the effluent limitation will satisfy the requirements of the TMDL.

4.	WQBEL Calculations

This subsection describes how concentration and (where calculated) mass-based WQBELs were calculated. Information presented should include the following:

- General description of calculation procedures

- Discussion of available dilution or determination of mixing zone boundaries and dilution afforded by the mixing zone

- Calculated waste load allocations based on the applicable criteria and any available dilution or other modeling, or based on an approved TMDL.

- Effluent limitation calculations (at a minimum, one sample calculation for each type of concentration-based and mass-based effluent limitation).

Once the rationale has been provided in this subsection, then the applicable WQBELs must be summarized in a table similar to that shown below.  Note that a table(s) for each Discharge Point must be prepared. Also note that the table may need to be adjusted to accommodate the limit bases applicable to the facility.

In accordance with section 122.45(d), there may be instances in which the basis for a limit for a particular continuous discharge may be impracticable to be stated as a maximum daily, average weekly, or average monthly effluent limitation per this regulation.  USEPA and the State Water Board have determined that for toxic pollutants discharges to non-ocean waters, it is not practicable to express water quality-based effluent limitations as an average weekly and an average monthly, and recommend using a maximum daily and an average monthly effluent limitation for such discharges.  Rationale must be provided for instances when it is impracticable to express water quality-based effluent limitations for a POTW as an average weekly and an average monthly or, for a non-POTW, as a maximum daily and an average monthly if the limitations are expressed in other terms.  Where the implementation basis of a limitation is clearly dictated by an effective water quality control plan or statewide policy such as the Ocean Plan, it should be adequate to reference the source for the limitation.  The following table provides for interpreting the 30-day average water quality objectives from the Ocean Plan “Table B Water Quality Objectives” as average monthly effluent limitations to satisfy section 122.45(d) requirements.

Summary of Water Quality-Based Effluent Limitations

Discharge Point <Discharge Point Name>

Table 6.  Summary of Water Quality-based Effluent Limitations

| Parameter | Units | Effluent Limitations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Instantaneous Minimum | Instantaneous Maximum | Six-Month Median |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |

The table above shows for clerical reasons how mass limitations should be shown when applicable.

5.	Whole Effluent Toxicity (WET)

This subsection provides the rationale for any proposed effluent limitations or monitoring requirements for whole effluent toxicity (WET).  It also includes discussion of triggers for Toxicity Identification Evaluations and Toxicity Reduction Evaluations.

D.	Final Effluent Limitations

This subsection summarizes the numeric effluent limitations established for each Discharge Point and provides a rationale for the basis of each limitation.  The use of the following table is discretionary if the development of final effluent limitations would be repetitive of the development of technology-based effluent limitations and WQBELs already presented (e.g., no further consideration is needed to determine which type is more stringent).  This section also includes a discussion of the following:

- Summarize anti-backsliding requirements and note any limitations carried over from the previous Order because of anti-backsliding requirements.

- Discuss any limitations that are less stringent than limitations from the previous Order and explain how anti-backsliding exception(s) have been met.

- Discuss how the final effluent limitations comply with the anti-degradation policy.

- Discuss the stringency of final effluent limitations as appropriate.

1.	Satisfaction of Anti-Backsliding Requirements

If backsliding is an issue, the Fact Sheet must include the required anti-backsliding analysis when discussing the rationale for the final effluent limitations.

<All effluent limitations in this Order are at least as stringent as the effluent limitations in the previous Order.> or <The effluent limitations in this Order are at least as stringent as the effluent limitations in the previous Order, with the exception of effluent limitations for <name pollutants>.  The effluent limitations for these pollutants are less stringent that those in the previous Order.  This relaxation of effluent limitations is consistent with the anti-backsliding requirements of the CWA and federal regulations.>  <Continue with a discussion of the rationale as appropriate to the satisfaction of anti-backsliding regulations.>

2.	Satisfaction of Antidegradation Policy

The Fact Sheet may require an antidegradation analysis when discussing the rationale for effluent limitations.  For example, for a discharge to Tier 2 waters in which degradation of water quality is proposed, the Fact Sheet must address: (1) public participation; (2) the necessity for degrading water quality because of important economic or social development in the area in which the receiving waters are located; (3) assurances that all new and existing point sources achieve the highest applicable requirements and that all non-point sources achieve all cost-effective and reasonable BMPs; and (4) water quality is not degraded beyond that which is adequate to fully protect existing uses.

If Resolution No. 68-16 may be the basis for effluent limitations more stringent than the minimum applicable federal technology-based pollutant restrictions, this may be an appropriate location in the template format to provide for a supporting discussion.

3.	Stringency of Requirements for Individual Pollutants

This Order contains both technology-based and water quality-based effluent limitations for individual pollutants.  The technology-based effluent limitations consist of restrictions on <pollutants listed>.  Restrictions on <same pollutants listed or referenced> are discussed in <reference where discussed in the Fact Sheet>.  This Order’s technology-based pollutant restrictions implement the minimum, applicable federal technology-based requirements.  <In addition, this Order contains effluent limitations more stringent than the minimum, federal technology-based requirements that are necessary to meet water quality standards.>  <These limitations are not more stringent than required by the CWA.> OR <These requirements include some limitations that are more stringent than required by the CWA.>

If restrictions are not more stringent, use the following language.

Water quality-based effluent limitations have been scientifically derived to implement water quality objectives that protect beneficial uses.  Both the beneficial uses and the water quality objectives have been approved pursuant to federal law and are the applicable federal water quality standards.  The scientific procedures for calculating the individual water quality-based effluent limitations are based on the Ocean Plan, which was approved by USEPA on February 14, 2006.  <Most/All> beneficial uses and water quality objectives contained in the Basin Plan were approved under state law and submitted to and approved by USEPA prior to May 30, 2000.  Any water quality objectives and beneficial uses submitted to USEPA prior to May 30, 2000, but not approved by USEPA before that date, are nonetheless “applicable water quality standards for purposes of the CWA” pursuant to section 131.21(c)(1).  <If “Most” is selected above: The remaining water quality objectives and beneficial uses implemented by this Order (specifically <list Basin Plan pollutant objectives>) were approved by USEPA on <dates>, respectively, and are applicable water quality standards pursuant to section 131.21(c)(2).>  Collectively, this Order’s restrictions on individual pollutants are no more stringent than required to implement the requirements of the CWA.

Consider adding the following model paragraph to complement the above language if economic data have been submitted.

The following additional language should be used if the discharger has submitted economic data and the effluent limitations are only as stringent as necessary to implement federal water quality standards.

On <date>, the Discharger submitted economic information indicating that the cost of complying with this Order would be <$$>.  The Regional Water Board has considered the specific costs identified in the Discharger’s submittal.  <The Discharger’s submittal does not consider more cost-effective means of implementing this Order, such as source control efforts.>  As discussed in <reference where discussed in the Fact Sheet>, the individual pollutant restrictions are no more stringent than necessary to implement applicable federal requirements or standards under the CWA.  Relaxation of the effluent limitations is not permissible.  Where appropriate, this Order <or the accompanying Cease and Desist/Time Schedule Order> provides additional time to achieve the pollutant-specific restriction.

Use the following language if one or more effluent limitations are more stringent than limitations necessary to implement minimum federal requirements.  For example, this language should be used if effluent limiations more stringent than limitations based on an existing applicable numeric objective are included in the permit.

This Order contains pollutant restrictions that are more stringent than applicable federal requirements and standards.  Specifically, this Order includes effluent limitations for <list pollutants> that are more stringent than applicable federal standards, but that are nonetheless necessary to meet numeric objectives or protect beneficial uses.  The rationale for including these limitations is explained in <reference where discussed in the Fact Sheet>.  In addition, the Regional Water Board has considered the factors in Water Code section 13241 in <reference where discussed in the Fact Sheet>.

The following additional language should be used if the discharger has submitted economic data. However, the effluent limitations are reasonably necessary to protect beneficial uses and the cost for compliance does not justify failing to protect the beneficial uses.

On <date>, the Discharger submitted economic information indicating that the cost of complying with this Order would be <$$>.  The Regional Water Board has considered the specific costs identified in the Discharger’s submittal.  <The Discharger’s submittal does not consider more cost-effective means of implementing this Order, such as source control efforts.>  As discussed in <reference where discussed in the Fact Sheet>, the individual pollutant restrictions are reasonably necessary to protect beneficial uses identified in the Basin Plan, and the economic information related to costs of compliance are not sufficient, in the Regional Water Board’s determination, to justify failing to protect beneficial uses.  Where appropriate, this Order <or the accompanying Cease and Desist/Time Schedule Order> provides additional time to achieve the pollutant-specific restriction.

Summary of Final Effluent Limitations

Discharge Point <Discharge Point Name>

| Table 7. Summary of Final Effluent Limitations Parameter | Units | Effluent Limitations |  |  |  |  |  | Basis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average Monthly | Average Weekly | Maximum Daily | Instantaneous Minimum | Instantaneous Maximum | Six-Month Median |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |  |
| <Parameter Name> | <concentration> |  |  |  |  |  |  |  |
|  | lbs/day |  |  |  |  |  |  |  |

The table above shows for clerical reasons how mass limitations should be shown when applicable.

E.	Interim Effluent Limitations

Note:  Interim effluent limitations do not apply to an ocean discharge unless applicable plans specifically provide for compliance schedules and requirements for interim effluent limitations.  For example, the Ocean Plan as amended in 2005 does not provide for a compliance schedule to meet water quality objectives.  Basin Plans may vary in implementation of water quality objectives for the ocean.  If there is also discharge to non-ocean receiving waters, additional consideration could be given if the SIP-CTR or Basin Plan authorizes interim effluent limitations for those waters.

- This subsection discusses the rationale for any interim effluent limitations contained in the Order. This section includes appropriate citations from the SIP and regulations, a discussion of the need for interim effluent limitations, and a demonstration of how interim effluent limitations were calculated.

If the Order includes a compliance schedule and thus interim limitations, the Order or Fact Sheet must explain why the Discharger qualifies for a compliance schedule and must complete Section VII.D, Compliance Schedules, of this Fact Sheet.  The SIP requires that a Discharger demonstrate infeasibility to meet the final effluent limitations and submit documentation regarding source control efforts and other topics.

F.	Land Discharge Specifications

This subsection discusses the rationale for the land discharge specifications (and any interim requirements) contained in the Order.  Portions of this discussion that pertain to numeric requirements will be similar to the discussion of effluent limitations above.

G.	Reclamation Specifications

This subsection discusses the rationale for the reclamation specifications contained in the Order. Portions of this discussion that pertain to numeric requirements will be similar to the discussion of effluent limitations above.

V.	Rationale for Receiving Water Limitations

This section discusses the rationale for receiving water limitations in consideration of implementation provisions in the applicable Basin Plan or other Water Quality Control Plan.

A.	Surface Water

This subsection discusses the rationale for receiving water limitations for surface water based on water quality objectives specified in the applicable Basin Plan or other Water Quality Control Plan.

B.	Groundwater

This subsection discusses the rationale for incorporating receiving water limitations for groundwater based on water quality objectives specified in the applicable Basin Plan or other Water Quality Control Plan, and may be included if, in addition to a discharge to surface water, there is a discharge affecting groundwater.  If there is a likelihood that wastewater will percolate and enter groundwater from percolation ponds, storage basins, reclamation areas, sludge beds, etc., the Regional Water Board should consider including groundwater limitations.

VI.	Rationale for Monitoring and Reporting Requirements

This section provides a discussion and rationale for the monitoring and reporting requirements contained in the Monitoring and Reporting Program.

Section 122.48 requires that all NPDES permits specify requirements for recording and reporting monitoring results.  Water Code sections 13267 and 13383 authorizes the Regional Water Board to require technical and monitoring reports.  The Monitoring and Reporting Program (MRP), Attachment E of this Order, establishes monitoring and reporting requirements to implement federal and state requirements.  The following provides the rationale for the monitoring and reporting requirements contained in the MRP for this facility.

A.	Influent Monitoring

This subsection includes a discussion of the justification for influent monitoring requirements (if applicable), including changes made from the previous Order; documentation of any addition or removal of parameters from the monitoring program; and the evidence supporting the need for influent monitoring.

B.	Effluent Monitoring

This subsection discusses the justification for effluent monitoring requirements, including changes made from the previous Order and documentation of any additional or removed parameters and the evidence supporting the need for effluent monitoring.  Additional explanations should be provided for parameters to be monitored that do not have a limitation or other requirement specified in the Order.

C.	Whole Effluent Toxicity Testing Requirements

This subsection discusses the rationale for the required whole effluent toxicity testing requirements such as the selected test species, endpoint, frequency of testing, etc.  The rationale for whole effluent toxicity limitations should be discussed above in Section IV.B.6.

D.	Receiving Water Monitoring

This subsection discusses the justification for receiving water and groundwater (if applicable) monitoring requirement and includes changes made from the previous Order and documentation of any additional or removed parameters.  The subsection also addresses the evidence supporting the need for receiving water monitoring.

1.	Surface Water

2.	Groundwater

E.	Other Monitoring Requirements

This subsection discusses the justification for other monitoring requirements in the Order and the evidence supporting the need for these additional monitoring requirements.  Examples of other types of monitoring that could be required are listed below:

- Water Supply Monitoring.

- Pretreatment Monitoring (POTWs only).

- Biosolids/Sludge Monitoring (POTWs only).

- Storm Water Monitoring.

- Treatment Pond/Lagoon Monitoring.

- Thermal Monitoring.

- Dioxin Monitoring.

- Regional Monitoring Program Monitoring.

- Discharge Observations.

- Ocean Plan Table B Pollutant Scans.

- Effluent and Ambient Priority Pollutant Scans for a discharge subject to the SIP/CTR.

VII.	Rationale for Provisions

This section discusses the rationale for the standard and special provisions in the Order. Justification for Special Studies and Additional Monitoring Requirements, BMPs and Pollution Prevention Plans, Compliance Schedules, and/or Special Provisions for POTWs must be detailed.

A.	Standard Provisions

Standard Provisions, which apply to all NPDES permits in accordance with section 122.41, and additional conditions applicable to specified categories of permits in accordance with section 122.42, are provided in Attachment D to the Order.

Section 122.41(a)(1) and (b) through (n) establish conditions that apply to all state-issued NPDES permits.  These conditions must be incorporated into the permits either expressly or by reference.  If incorporated by reference, a specific citation to the regulations must be included in the Order.  Section 123.25(a)(12) allows the state to omit or modify conditions to impose more stringent requirements.  In accordance with section 123.25, this Order omits federal conditions that address enforcement authority specified in sections 122.41(j)(5) and (k)(2) because the enforcement authority under the Water Code is more stringent.  In lieu of these conditions, this Order incorporates by reference Water Code section 13387(e).

B.	Special Provisions

This subsection explains the rationale for any special reopener provisions that are included in the Order.

1.	Reopener Provisions

2.	Special Studies and Additional Monitoring Requirements

This subsection discusses the rationale for any special studies required in the Order, including for example:

- Treatability studies.

- Treatment capacity evaluations.

3.	Best Management Practices and Pollution Prevention

This subsection discusses the rationale for any special provisions related to developing and implementing Best Management Practices (BMPs) and/or pollution prevention practices. Examples include:

- BMP plan development.

- Storm water pollution prevention plans.

- Pollutant Minimization Study (as required in the SIP for bioaccumulative pollutants).

4.	Construction, Operation, and Maintenance Specifications

This subsection discusses the rationale for any special provisions in the Order related to operation of the facility, including for example:

- Requirements for operator certification.

- Requirements to provide back-up equipment.

5.	Special Provisions for Municipal Facilities (POTWs Only)

This subsection discusses the rationale for any special provisions specific to POTWs, including:

- Pretreatment program requirements.

- Combined sewer overflow requirements.

- Sanitary sewer overflow requirements.

6.	Other Special Provisions

7.	Compliance Schedules

This subsection discusses the rationale for, and specific dates associated with, compliance schedules.  For WQBELs for toxic pollutants, the SIP specifies how interim effluent limitations and compliance schedules are incorporated into the Order.  The SIP does not allow interim limitations and compliance schedules in Orders for new Dischargers.  Also, compliance schedules may not be provided to implement NTR criteria.

VIII.	Public Participation

This section provides information necessary to ensure proper public participation. At a minimum, this section must include the requirements in section 124.8(b)(6) and (7). The following language is provided as an example only (taken from the Los Angeles Regional Water Board permit template) and is not intended to represent preferred Order language.

The California Regional Water Quality Control Board, <Regional Water Board Name> Region (Regional Water Board) is considering the issuance of waste discharge requirements (WDRs) that will serve as a National Pollutant Discharge Elimination System (NPDES) permit for <Facility Name>.  As a step in the WDR adoption process, the Regional Water Board staff has developed tentative WDRs.  The Regional Water Board encourages public participation in the WDR adoption process.

A.	Notification of Interested Parties

The Regional Water Board has notified the Discharger and interested agencies and persons of its intent to prescribe waste discharge requirements for the discharge and has provided them with an opportunity to submit their written comments and recommendations.  Notification was provided through the following <Describe Notification Process (e.g., newspaper name and date)>

B.	Written Comments

The staff determinations are tentative.  Interested persons are invited to submit written comments concerning these tentative WDRs.  Comments must be submitted either in person or by mail to the Executive Office at the Regional Water Board at the address above on the cover page of this Order.

To be fully responded to by staff and considered by the Regional Water Board, written comments should be received at the Regional Water Board offices by 5:00 p.m. on <Date>.

C.	Public Hearing

The Regional Water Board will hold a public hearing on the tentative WDRs during its regular Board meeting on the following date and time and at the following location:

- Date:		<Public Hearing Date>

- Time:		<Public Hearing Time>

- Location:	<Public Hearing Location>

- <Public Hearing Address>

- <Public Hearing City, State, Zip>

Interested persons are invited to attend.  At the public hearing, the Regional Water Board will hear testimony, if any, pertinent to the discharge, WDRs, and permit.  Oral testimony will be heard; however, for accuracy of the record, important testimony should be in writing.

Please be aware that dates and venues may change.  Our Web address is <Regional Water Board Web Address> where you can access the current agenda for changes in dates and locations.

D.	Waste Discharge Requirements Petitions

Any aggrieved person may petition the State Water Resources Control Board to review the decision of the Regional Water Board regarding the final WDRs.  The petition must be submitted within 30 days of the Regional Water Board’s action to the following address:

State Water Resources Control Board

Office of Chief Counsel

P.O. Box 100, 1001 I Street

Sacramento, CA 95812-0100

E.	Information and Copying

The Report of Waste Discharge (RWD), related documents, tentative effluent limitations and special provisions, comments received, and other information are on file and may be inspected at the address above at any time between 8:30 a.m. and 4:45 p.m., Monday through Friday. Copying of documents may be arranged through the Regional Water Board by calling <Regional Water Board Phone>.

F.	Register of Interested Persons

Any person interested in being placed on the mailing list for information regarding the WDRs and NPDES permit should contact the Regional Water Board, reference this facility, and provide a name, address, and phone number.

G.	Additional Information

Requests for additional information or questions regarding this order should be directed to <Permit Writer Name> at <Telephone Number>.

All further statutory references are to title 40 of the Code of Federal Regulations unless otherwise indicated.

All further statutory references are to title 40 of the Code of Federal Regulations unless otherwise indicated.

All further statutory references are to title 40 of the Code of Federal Regulations unless otherwise indicated.