## Slide 1: Wastewater Operations and Maintenance

## Slide 2: Equipment and Personnel
2 Combination trucks(Vactor)
1 Jetter truck(Vactor)
1 CCTV Van
2 Bypass pumps
6 Personnel

## Slide 3: Ontario’s Collection System
365 miles of pipe
7,582 manholes & cleanouts
3 lift stations
11,588’ of forcemains
9 inverted siphons
Average sewer load ~18.75 MGD
Mostly VCP, 4” - 42” diameter
Mostly constructed 1950-1990, but some as early as 1895

## Slide 4: Line Cleaning Program
Based on a Grid System
58 Grids
Access data base

## Slide 6: Grids and jetting forms
SEQ | FACILITYID | LENGTH | DATE | EMPLOYEE1 | EMPLOYEE2 | EQUIPMENT | COMMENTS
1 | F11CL1006 | 171 |  |  |  |  | 
2 | F11CL1005 | 99 |  |  |  |  | 
3 | F11CL1034 | 99 |  |  |  |  | 
4 | F11CL1035 | 145 |  |  |  |  | 
5 | F11CL1004 | 200 |  |  |  |  | 
6 | F11CL1003 | 152 |  |  |  |  | 
7 | F11CL1031 | 165 |  |  |  |  | 
8 | F11CL1032 | 351 |  |  |  |  | 
9 | F11CL1008 | 160 |  |  |  |  | 
10 | F11CL1009 | 154 |  |  |  |  | 
11 | F10CL1005 | 216 |  |  |  |  | 
12 | F10CL1007 | 157 |  |  |  |  | 
13 | F10CL1025 | 275 |  |  |  |  | 
14 | F10CL1008 | 270 |  |  |  |  | 
15 | F10CL1003 | 219 |  |  |  |  | 
16 | F11CL1001 | 216 |  |  |  |  | 
17 | F11CL1002 | 140 |  |  |  |  | 
18 | F11CL1007 | 138 |  |  |  |  | 
19 | F10CL1002 | 275 |  |  |  |  | 
20 | F10CL1020 | 228 |  |  |  |  | 
21 | F10CL1017 | 225 |  |  |  |  | 
22 | F10CL1006 | 217 |  |  |  |  | 
23 | F10CL1023 | 60 |  |  |  |  | 
24 | F10CL1018 | 241 |  |  |  |  | 
25 | F10CL1019 | 301 |  |  |  |  | 
26 | F10CL1016 | 222 |  |  |  |  | 
27 | F10CL1004 | 161 |  |  |  |  | 
28 | F10CL1013 | 82 |  |  |  |  | 
29 | F10CL1011 | 368 |  |  |  |  | 
30 | F10CL1012 | 194 |  |  |  |  | 
31 | F10CL1010 | 290 |  |  |  |  | 
32 | F10CL1009 | 110 |  |  |  |  | 
33 | F10CL1014 | 171 |  |  |  |  | 
34 | F10CL1015 | 166 |  |  |  |  | Traffic
35 | G10CL1029 | 224 |  |  |  |  | 
36 | G10CL1028 | 296 |  |  |  |  | 
37 | G10CL1027 | 296 |  |  |  |  | Traffic
38 | G10CL1026 | 276 |  |  |  |  | Traffic
39 | F10CL1001 | 262 |  |  |  |  | 
40 | G10CL1046 | 341 |  |  |  |  | 

## Slide 7: Data Base

## Slide 10: Graph
Chart: 
| 40513 | 40544 | 40575 | 40603 | 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030 | 41061 | 41091 | 41122 | 41153 | 41183 | 41214 | 41244 | 41275 | 41306 | 41334 | 41365 | 41395 | 41426 | 41456 | 41487
 | 79054 | 155957 | 66890 | 111194 | 139785 | 95303 | 111954 | 105729 | 75796 | 86528 | 108948 | 52149.45 | 121514 | 171669 | 155905 | 153638 | 126789 | 197826 | 185987 | 124683 | 120303 | 92940 | 171226 | 147979 | 78344 | 95424 | 126416 | 131211 | 121951 | 110898 | 122430 | 119000 | 56000

## Slide 11: Lift Stations (3)
Daily rounds
Monthly Maintenance
6 Month wet well cleaning

## Slide 12: Bypass storm channel emergency plan
Area of spill
Bypass set up procedures
Communication with field personnel
Mock set up drills

## Slide 13: #1 Benson & State

## Slide 14
Spill containment Location
Benson and State
Road closure between Benson and Oaks on State st. (Refer to traffic control SOP)
Sand bags to control flow within the storm drain.
Set Bypass pump to divert flow from channel back to the sanitary sewer system.(K10MH111)
Use 25’ suction hose
Use 75’ discharge hose
Vactor #1 on standby
Vactor #2 on standby
Jetter Truck to be used to wash down and clean the storm drain.

## Slide 15: 4# Woodlark & Walnut

## Slide 16
Walnut and Woodlark
Road closure between Arcadian Shores and Woodlark on Walnut st. (Refer to traffic control SOP)
Sand bags to control flow within the storm drain.
Set Bypass pump to divert flow from channel back to the sanitary sewer system.
Use 50’ suction hose
Use 150’ discharge hose
Vactor #1 on standby
Vactor #2 on standby
Jetter Truck to be used to wash down and clean the storm drain.

## Slide 17: When all else fails

## Slide 18: Mutual Aid
IEUA
Cucamonga Valley Water
City of Upland
City of Fontana
City of Chino Hills
City of Chino
City of Montclair